## Categorized
sensor_id | sensor_name_source | sensor_name_report | sensor_description | sensor_measurement_properties | category | location | style
413 | 20016_TL5 | CO2_Sensor | 20016_TL5 description | 44 | CO2
498 | 30000_TL212 | GBT Appliances consumption | 30000_TL212 description | 55 | Electricity
450 | 30000_TL341 | GBT Consumption Hourly Wh | 30000_TL341 description | 60 | Electricity
294 | 30000_TL337 | GBT Consumption Wh | 30000_TL337 description | 60 | Electricity
459 | 30000_TL211 | GBT Equipment/ R&D consumption | 30000_TL211 description | 55 | Electricity
411 | 30000_TL340 | GBT Generation Hourly Wh | 30000_TL340 description | 60 | Electricity
255 | 30000_TL336 | GBT Generation Wh | 30000_TL336 description | 60 | Electricity
381 | 30000_TL209 | GBT Lighting consumption-TL | 30000_TL209 description | 55 | Electricity
528 | 30000_TL343 | GBT Mains PA | 30000_TL343 description | 59 | Electricity
567 | 30000_TL344 | GBT Mains PB | 30000_TL344 description | 59 | Electricity
607 | 30000_TL345 | GBT Mains PC | 30000_TL345 description | 59 | Electricity
217 | 30000_TL335 | GBT Net Energy | 30000_TL335 description | 59 | Electricity
372 | 30000_TL339 | GBT Net Energy Hourly Wh | 30000_TL339 description | 60 | Electricity
333 | 30000_TL338 | GBT Net Energy Wh | 30000_TL338 description | 60 | Electricity
489 | 30000_TL342 | GBT Site Consumption | 30000_TL342 description | 59 | Electricity
342 | 30000_TL208 | GBT Space heating/cooling consumption-TL | 30000_TL208 description | 55 | Electricity
366 | 30000_TL3 | GBT Total Generation | 30000_TL3 description | 55 | Electricity
2845 | 30000_TL388 | GBT Total Generation kWh-TL | 30000_TL388 description | 25 | Electricity
345 | 30000_TL4 | GBT Ventilation consumption | 30000_TL4 description | 46 | Electricity
537 | 30000_TL213 | Panel2A-1_TotalUsage | 30000_TL213 description | 59 | Electricity
469 | 30000_TL252 | PV-CarportSolar_Total | 30000_TL252 description | 59 | Electricity
508 | 30000_TL253 | PV-RooftopSolar_Total | 30000_TL253 description | 59 | Electricity
589 | 30000_TL86 | N1ETH058A - Humidity Voltage Output-TL | 30000_TL86 description | 46 | Humidity
828 | 30000_TL30 | N1ETH058A - Humidity-TL | 30000_TL30 description | 55 | Humidity
789 | 30000_TL29 | S1ETH063 - Humidity-TL | 30000_TL29 description | 46 | Humidity
303 | 30000_TL207 | AVG_CisternTemp-CCM | 30000_TL207 description | 6 | Temperature
214 | 30000_TL57 | E0FTHC034 | 30000_TL57 description | 6 | Temperature | basement | internal
175 | 30000_TL56 | E0FTHC035 | 30000_TL56 description | 6 | Temperature | basement | internal
136 | 30000_TL55 | E0FTHC036 | 30000_TL55 description | 6 | Temperature | basement | internal
901 | 30000_TL93 | E1ETH066 | 30000_TL93 description | 6 | Temperature | ELEVATION - EAST | ?
862 | 30000_TL92 | E1ETH069 | 30000_TL92 description | 6 | Temperature | ELEVATION - EAST | ?
823 | 30000_TL91 | E1ETH070 | 30000_TL91 description | 6 | Temperature | ELEVATION - EAST | ?
238 | 30000_TL78 | E1MACA183A | 30000_TL78 description | 46 | Temperature
295 | 20000_TL92 | HWS_Outside_Temp_POLL | 20000_TL92 description | 6 | Temperature
277 | 30000_TL79 | N0FTH295-TL | 30000_TL79 description | 6 | Temperature
306 | 30000_TL39 | N0FTHC038-TL | 30000_TL39 description | 6 | Temperature | basement | ?
267 | 30000_TL38 | N0FTHC039-TL | 30000_TL38 description | 6 | Temperature | basement | ?
706 | 30000_TL89 | N1ETH056-TL | 30000_TL89 description | 6 | Temperature | level 1 | internal
667 | 30000_TL88 | N1ETH057A-TL | 30000_TL88 description | 6 | Temperature | level 1 | internal
628 | 30000_TL87 | N1ETH057B-TL | 30000_TL87 description | 6 | Temperature | level 1 | internal
550 | 30000_TL85 | N1ETH058B-TL | 30000_TL85 description | 6 | Temperature | level 1 | internal
511 | 30000_TL84 | N1ETH059-TL | 30000_TL84 description | 6 | Temperature | level 1 | internal
472 | 30000_TL83 | N1ETH060-TL | 30000_TL83 description | 6 | Temperature | level 1 | internal
784 | 30000_TL90 | N1FTH042-TL | 30000_TL90 description | 6 | Temperature | basement | internal
433 | 30000_TL82 | N3ERTH076-TL | 30000_TL82 description | 6 | Temperature | roof | internal
804 | 30000_TL108 | S0FS289 | 30000_TL108 description | 6 | Temperature
107 | 30000_TL95 | S0FTH055 | 30000_TL95 description | 46 | Temperature
87 | 30000_TL11 | S0FTH290-TL | 30000_TL11 description | 6 | Temperature
920 | 30000_TL10 | S0FTH292-TL | 30000_TL10 description | 6 | Temperature
721 | 30000_TL69 | S0FTHC009-TL | 30000_TL69 description | 6 | Temperature | basement | internal
682 | 30000_TL68 | S0FTHC010-TL | 30000_TL68 description | 6 | Temperature | basement | internal
643 | 30000_TL67 | S0FTHC011-TL | 30000_TL67 description | 46 | Temperature | basement | internal
604 | 30000_TL66 | S0FTHC012-TL | 30000_TL66 description | 6 | Temperature | basement | internal
228 | 30000_TL37 | S1ETH061-TL | 30000_TL37 description | 6 | Temperature | level 1 | internal
151 | 30000_TL35 | S1ETH062A-TL | 30000_TL35 description | 46 | Temperature | level 1 | internal
190 | 30000_TL36 | S1ETH062B-TL | 30000_TL36 description | 6 | Temperature | level 1 | internal
945 | 30000_TL33 | S1ETH063A-TL | 30000_TL33 description | 46 | Temperature | level 1 | internal
112 | 30000_TL34 | S1ETH063B-TL | 30000_TL34 description | 6 | Temperature | level 1 | internal
906 | 30000_TL32 | S1ETH064-TL | 30000_TL32 description | 6 | Temperature | level 1 | internal
867 | 30000_TL31 | S1ETH065-TL | 30000_TL31 description | 6 | Temperature | level 1 | internal
838 | 30000_TL71 | S1FTHC005-TL | 30000_TL71 description | 6 | Temperature | basement | internal
799 | 30000_TL70 | S1FTHC007-TL | 30000_TL70 description | 6 | Temperature | basement | internal
745 | 30000_TL9 | S2ETH299 | 30000_TL9 description | 6 | Temperature
316 | 30000_TL8 | S2ETH300 | 30000_TL8 description | 6 | Temperature
476 | 30000_TL21 | S2SWV096-TL | 30000_TL21 description | 6 | Temperature | level 2 | outside up down
437 | 30000_TL20 | S2SWV097-TL | 30000_TL20 description | 6 | Temperature | level 2 | outside up down
864 | 30000_TL2 | S2SWV098-TL | 30000_TL2 description | 59 | Temperature | level 2 | outside up down
398 | 30000_TL19 | S2SWV099-TL | 30000_TL19 description | 6 | Temperature | level 2 | outside up down
359 | 30000_TL18 | S2SWV100-TL | 30000_TL18 description | 6 | Temperature | level 2 | outside up down
320 | 30000_TL17 | S2SWV101-TL | 30000_TL17 description | 6 | Temperature | level 2 | outside up down
281 | 30000_TL16 | S2SWV102-TL | 30000_TL16 description | 6 | Temperature | level 2 | outside up down
242 | 30000_TL15 | S2SWV103-TL | 30000_TL15 description | 6 | Temperature | level 2 | outside up down
165 | 30000_TL13 | S2SWV104-TL | 30000_TL13 description | 6 | Temperature | level 2 | outside up down
204 | 30000_TL14 | S2SWV104-TL | 30000_TL14 description | 6 | Temperature | level 2 | outside up down
126 | 30000_TL12 | S2SWV105-TL | 30000_TL12 description | 6 | Temperature | level 2 | outside
750 | 30000_TL28 | S3ERTH082-TL | 30000_TL28 description | 6 | Temperature | roof | internal
711 | 30000_TL27 | S3SRV088-TL | 30000_TL27 description | 6 | Temperature | roof | outside up down
672 | 30000_TL26 | S3SRV089-TL | 30000_TL26 description | 6 | Temperature | roof | outside up down
633 | 30000_TL25 | S3SRV091-TL | 30000_TL25 description | 6 | Temperature | roof | outside up down
594 | 30000_TL24 | S3SRV093-TL | 30000_TL24 description | 6 | Temperature | roof | outside up down
554 | 30000_TL23 | S3SRV094-TL | 30000_TL23 description | 6 | Temperature | roof | outside up down
515 | 30000_TL22 | S3SRV095-TL | 30000_TL22 description | 6 | Temperature | roof | outside up down
847 | 20003_TL2 | Temperature | 20003_TL2 description | 6 | Temperature
170 | 20004_TL2 | Temperature | 20004_TL2 description | 6 | Temperature | basement
325 | 20005_TL2 | Temperature | 20005_TL2 description | 6 | Temperature | basement
481 | 20006_TL2 | Temperature | 20006_TL2 description | 6 | Temperature | basement
599 | 20007_TL2 | Temperature | 20007_TL2 description | 6 | Temperature | level 1
794 | 20008_TL2 | Temperature | 20008_TL2 description | 6 | Temperature | level 1
78 | 20009_TL2 | Temperature | 20009_TL2 description | 6 | Temperature | level 1
233 | 20010_TL2 | Temperature | 20010_TL2 description | 6 | Temperature | level 1
389 | 20011_TL2 | Temperature | 20011_TL2 description | 6 | Temperature | level 1
545 | 20012_TL2 | Temperature | 20012_TL2 description | 6 | Temperature | level 2
701 | 20013_TL2 | Temperature | 20013_TL2 description | 6 | Temperature | level 2
857 | 20014_TL2 | Temperature | 20014_TL2 description | 6 | Temperature | level 2
141 | 20015_TL2 | Temperature | 20015_TL2 description | 6 | Temperature | level 2
296 | 20016_TL2 | Temperature | 20016_TL2 description | 6 | Temperature | level 2
122 | 30000_TL75 | W1ETH071-TL | 30000_TL75 description | 6 | Temperature | level 1 | internal
97 | 30000_TL54 | W1ETH074-TL | 30000_TL54 description | 6 | Temperature | level 1 | internal
930 | 30000_TL53 | W1ETH075-TL | 30000_TL53 description | 6 | Temperature | level 1 | internal
564 | 30000_TL65 | W1FTHC015-TL | 30000_TL65 description | 6 | Temperature | basement | internal
525 | 30000_TL64 | W1FTHC016-TL | 30000_TL64 description | 46 | Temperature | basement | internal
486 | 30000_TL63 | W1FTHC017-TL | 30000_TL63 description | 6 | Temperature | basement | internal
447 | 30000_TL62 | W1FTHC018-TL | 30000_TL62 description | 6 | Temperature | W0FTHC018-022 | ? | basement | internal
408 | 30000_TL61 | W1FTHC019-TL | 30000_TL61 description | 6 | Temperature | W0FTHC018-022 | ? | basement | internal
369 | 30000_TL60 | W1FTHC020-TL | 30000_TL60 description | 6 | Temperature | W0FTHC018-022 | ? | basement | internal
291 | 30000_TL59 | W1FTHC021-TL | 30000_TL59 description | 46 | Temperature | W0FTHC018-022 | ? | basement | internal
252 | 30000_TL58 | W1FTHC022-TL | 30000_TL58 description | 6 | Temperature | W0FTHC018-022 | ? | basement | internal
813 | 30000_TL50 | W2GRFT235-TL | 30000_TL50 description | 6 | Temperature
735 | 30000_TL49 | W2GRFT236-TL | 30000_TL49 description | 6 | Temperature
891 | 30000_TL52 | W2GRFT239-TL | 30000_TL52 description | 6 | Temperature
852 | 30000_TL51 | W2GRFT240-TL | 30000_TL51 description | 6 | Temperature
696 | 30000_TL48 | W2GRFT251-TL | 30000_TL48 description | 6 | Temperature
657 | 30000_TL47 | W2GRFT252-TL | 30000_TL47 description | 6 | Temperature
618 | 30000_TL46 | W2GRFT255-TL | 30000_TL46 description | 6 | Temperature
579 | 30000_TL45 | W2GRFT256-TL | 30000_TL45 description | 6 | Temperature
540 | 30000_TL44 | W2GRFT272-TL | 30000_TL44 description | 6 | Temperature
501 | 30000_TL43 | W2GRFT283-TL | 30000_TL43 description | 6 | Temperature
462 | 30000_TL42 | W2GRFT284-TL | 30000_TL42 description | 6 | Temperature
423 | 30000_TL41 | W2GRFT287-TL | 30000_TL41 description | 6 | Temperature
384 | 30000_TL40 | W2GRFT288-TL | 30000_TL40 description | 6 | Temperature
420 | 30000_TL210 | GBT Domestic Hot Water consumption | 30000_TL210 description | 55 | Water
334 | 20000_TL93 | Rain_Water_Level_POLL | 20000_TL93 description | 46 | Water

## clean
sensor_id | sensor_name_source | sensor_name_report | sensor_description | sensor_measurement_properties
295 | 20000_TL92 | HWS_Outside_Temp_POLL | 20000_TL92 description | 6
334 | 20000_TL93 | Rain_Water_Level_POLL | 20000_TL93 description | 46
847 | 20003_TL2 | Temperature | 20003_TL2 description | 6
170 | 20004_TL2 | Temperature | 20004_TL2 description | 6
325 | 20005_TL2 | Temperature | 20005_TL2 description | 6
481 | 20006_TL2 | Temperature | 20006_TL2 description | 6
599 | 20007_TL2 | Temperature | 20007_TL2 description | 6
794 | 20008_TL2 | Temperature | 20008_TL2 description | 6
78 | 20009_TL2 | Temperature | 20009_TL2 description | 6
233 | 20010_TL2 | Temperature | 20010_TL2 description | 6
389 | 20011_TL2 | Temperature | 20011_TL2 description | 6
545 | 20012_TL2 | Temperature | 20012_TL2 description | 6
701 | 20013_TL2 | Temperature | 20013_TL2 description | 6
857 | 20014_TL2 | Temperature | 20014_TL2 description | 6
141 | 20015_TL2 | Temperature | 20015_TL2 description | 6
296 | 20016_TL2 | Temperature | 20016_TL2 description | 6
413 | 20016_TL5 | CO2_Sensor | 20016_TL5 description | 44
920 | 30000_TL10 | S0FTH292-TL | 30000_TL10 description | 6
804 | 30000_TL108 | S0FS289 | 30000_TL108 description | 6
87 | 30000_TL11 | S0FTH290-TL | 30000_TL11 description | 6
126 | 30000_TL12 | S2SWV105-TL | 30000_TL12 description | 6
165 | 30000_TL13 | S2SWV104-TL | 30000_TL13 description | 6
204 | 30000_TL14 | S2SWV104-TL | 30000_TL14 description | 6
242 | 30000_TL15 | S2SWV103-TL | 30000_TL15 description | 6
281 | 30000_TL16 | S2SWV102-TL | 30000_TL16 description | 6
320 | 30000_TL17 | S2SWV101-TL | 30000_TL17 description | 6
359 | 30000_TL18 | S2SWV100-TL | 30000_TL18 description | 6
398 | 30000_TL19 | S2SWV099-TL | 30000_TL19 description | 6
864 | 30000_TL2 | S2SWV098-TL | 30000_TL2 description | 59
437 | 30000_TL20 | S2SWV097-TL | 30000_TL20 description | 6
303 | 30000_TL207 | AVG_CisternTemp-CCM | 30000_TL207 description | 6
342 | 30000_TL208 | GBT Space heating/cooling consumption-TL | 30000_TL208 description | 55
381 | 30000_TL209 | GBT Lighting consumption-TL | 30000_TL209 description | 55
476 | 30000_TL21 | S2SWV096-TL | 30000_TL21 description | 6
420 | 30000_TL210 | GBT Domestic Hot Water consumption | 30000_TL210 description | 55
459 | 30000_TL211 | GBT Equipment/ R&D consumption | 30000_TL211 description | 55
498 | 30000_TL212 | GBT Appliances consumption | 30000_TL212 description | 55
537 | 30000_TL213 | Panel2A-1_TotalUsage | 30000_TL213 description | 59
515 | 30000_TL22 | S3SRV095-TL | 30000_TL22 description | 6
554 | 30000_TL23 | S3SRV094-TL | 30000_TL23 description | 6
594 | 30000_TL24 | S3SRV093-TL | 30000_TL24 description | 6
633 | 30000_TL25 | S3SRV091-TL | 30000_TL25 description | 6
469 | 30000_TL252 | PV-CarportSolar_Total | 30000_TL252 description | 59
508 | 30000_TL253 | PV-RooftopSolar_Total | 30000_TL253 description | 59
672 | 30000_TL26 | S3SRV089-TL | 30000_TL26 description | 6
711 | 30000_TL27 | S3SRV088-TL | 30000_TL27 description | 6
750 | 30000_TL28 | S3ERTH082-TL | 30000_TL28 description | 6
789 | 30000_TL29 | S1ETH063 - Humidity-TL | 30000_TL29 description | 46
366 | 30000_TL3 | GBT Total Generation | 30000_TL3 description | 55
828 | 30000_TL30 | N1ETH058A - Humidity-TL | 30000_TL30 description | 55
867 | 30000_TL31 | S1ETH065-TL | 30000_TL31 description | 6
906 | 30000_TL32 | S1ETH064-TL | 30000_TL32 description | 6
945 | 30000_TL33 | S1ETH063A-TL | 30000_TL33 description | 46
217 | 30000_TL335 | GBT Net Energy | 30000_TL335 description | 59
255 | 30000_TL336 | GBT Generation Wh | 30000_TL336 description | 60
294 | 30000_TL337 | GBT Consumption Wh | 30000_TL337 description | 60
333 | 30000_TL338 | GBT Net Energy Wh | 30000_TL338 description | 60
372 | 30000_TL339 | GBT Net Energy Hourly Wh | 30000_TL339 description | 60
112 | 30000_TL34 | S1ETH063B-TL | 30000_TL34 description | 6
411 | 30000_TL340 | GBT Generation Hourly Wh | 30000_TL340 description | 60
450 | 30000_TL341 | GBT Consumption Hourly Wh | 30000_TL341 description | 60
489 | 30000_TL342 | GBT Site Consumption | 30000_TL342 description | 59
528 | 30000_TL343 | GBT Mains PA | 30000_TL343 description | 59
567 | 30000_TL344 | GBT Mains PB | 30000_TL344 description | 59
607 | 30000_TL345 | GBT Mains PC | 30000_TL345 description | 59
151 | 30000_TL35 | S1ETH062A-TL | 30000_TL35 description | 46
190 | 30000_TL36 | S1ETH062B-TL | 30000_TL36 description | 6
228 | 30000_TL37 | S1ETH061-TL | 30000_TL37 description | 6
267 | 30000_TL38 | N0FTHC039-TL | 30000_TL38 description | 6
2845 | 30000_TL388 | GBT Total Generation kWh-TL | 30000_TL388 description | 25
306 | 30000_TL39 | N0FTHC038-TL | 30000_TL39 description | 6
345 | 30000_TL4 | GBT Ventilation consumption | 30000_TL4 description | 46
384 | 30000_TL40 | W2GRFT288-TL | 30000_TL40 description | 6
423 | 30000_TL41 | W2GRFT287-TL | 30000_TL41 description | 6
462 | 30000_TL42 | W2GRFT284-TL | 30000_TL42 description | 6
501 | 30000_TL43 | W2GRFT283-TL | 30000_TL43 description | 6
540 | 30000_TL44 | W2GRFT272-TL | 30000_TL44 description | 6
579 | 30000_TL45 | W2GRFT256-TL | 30000_TL45 description | 6
618 | 30000_TL46 | W2GRFT255-TL | 30000_TL46 description | 6
657 | 30000_TL47 | W2GRFT252-TL | 30000_TL47 description | 6
696 | 30000_TL48 | W2GRFT251-TL | 30000_TL48 description | 6
735 | 30000_TL49 | W2GRFT236-TL | 30000_TL49 description | 6
813 | 30000_TL50 | W2GRFT235-TL | 30000_TL50 description | 6
852 | 30000_TL51 | W2GRFT240-TL | 30000_TL51 description | 6
891 | 30000_TL52 | W2GRFT239-TL | 30000_TL52 description | 6
930 | 30000_TL53 | W1ETH075-TL | 30000_TL53 description | 6
97 | 30000_TL54 | W1ETH074-TL | 30000_TL54 description | 6
136 | 30000_TL55 | E0FTHC036 | 30000_TL55 description | 6
175 | 30000_TL56 | E0FTHC035 | 30000_TL56 description | 6
214 | 30000_TL57 | E0FTHC034 | 30000_TL57 description | 6
252 | 30000_TL58 | W1FTHC022-TL | 30000_TL58 description | 6
291 | 30000_TL59 | W1FTHC021-TL | 30000_TL59 description | 46
369 | 30000_TL60 | W1FTHC020-TL | 30000_TL60 description | 6
408 | 30000_TL61 | W1FTHC019-TL | 30000_TL61 description | 6
447 | 30000_TL62 | W1FTHC018-TL | 30000_TL62 description | 6
486 | 30000_TL63 | W1FTHC017-TL | 30000_TL63 description | 6
525 | 30000_TL64 | W1FTHC016-TL | 30000_TL64 description | 46
564 | 30000_TL65 | W1FTHC015-TL | 30000_TL65 description | 6
604 | 30000_TL66 | S0FTHC012-TL | 30000_TL66 description | 6
643 | 30000_TL67 | S0FTHC011-TL | 30000_TL67 description | 46
682 | 30000_TL68 | S0FTHC010-TL | 30000_TL68 description | 6
721 | 30000_TL69 | S0FTHC009-TL | 30000_TL69 description | 6
799 | 30000_TL70 | S1FTHC007-TL | 30000_TL70 description | 6
838 | 30000_TL71 | S1FTHC005-TL | 30000_TL71 description | 6
122 | 30000_TL75 | W1ETH071-TL | 30000_TL75 description | 6
200 | 30000_TL77 | E1MACA183B - TEST | 30000_TL77 description | 6
238 | 30000_TL78 | E1MACA183A | 30000_TL78 description | 46
277 | 30000_TL79 | N0FTH295-TL | 30000_TL79 description | 6
316 | 30000_TL8 | S2ETH300 | 30000_TL8 description | 6
433 | 30000_TL82 | N3ERTH076-TL | 30000_TL82 description | 6
472 | 30000_TL83 | N1ETH060-TL | 30000_TL83 description | 6
511 | 30000_TL84 | N1ETH059-TL | 30000_TL84 description | 6
550 | 30000_TL85 | N1ETH058B-TL | 30000_TL85 description | 6
589 | 30000_TL86 | N1ETH058A - Humidity Voltage Output-TL | 30000_TL86 description | 46
628 | 30000_TL87 | N1ETH057B-TL | 30000_TL87 description | 6
667 | 30000_TL88 | N1ETH057A-TL | 30000_TL88 description | 6
706 | 30000_TL89 | N1ETH056-TL | 30000_TL89 description | 6
745 | 30000_TL9 | S2ETH299 | 30000_TL9 description | 6
784 | 30000_TL90 | N1FTH042-TL | 30000_TL90 description | 6
823 | 30000_TL91 | E1ETH070 | 30000_TL91 description | 6
862 | 30000_TL92 | E1ETH069 | 30000_TL92 description | 6
901 | 30000_TL93 | E1ETH066 | 30000_TL93 description | 6
940 | 30000_TL94 | W1ETH071(Test) TL | 30000_TL94 description | 55
107 | 30000_TL95 | S0FTH055 | 30000_TL95 description | 46