## Dont Edit
sensor_id | sensor_name_source | sensor_name_report | sensor_description | sensor_measurement_properties
590 | 10000_TL1 | OAT | 10000_TL1 description | 6
629 | 10000_TL10 | Panel B Line-2 TL | 10000_TL10 description | 1
668 | 10000_TL100 | 10000_TL100 | 10000_TL100 description | 55
707 | 10000_TL101 | 10000_TL101 | 10000_TL101 description | 6
746 | 10000_TL102 | 10000_TL102 | 10000_TL102 description | 46
785 | 10000_TL103 | 10000_TL103 | 10000_TL103 description | 46
824 | 10000_TL104 | 10000_TL104 | 10000_TL104 description | 46
863 | 10000_TL105 | 10000_TL105 | 10000_TL105 description | 55
902 | 10000_TL106 | 10000_TL106 | 10000_TL106 description | 55
941 | 10000_TL107 | 10000_TL107 | 10000_TL107 description | 55
108 | 10000_TL108 | 10000_TL108 | 10000_TL108 description | 55
147 | 10000_TL109 | 10000_TL109 | 10000_TL109 description | 55
186 | 10000_TL11 | Panel C Line-1 | 10000_TL11 description | 1
224 | 10000_TL110 | 10000_TL110 | 10000_TL110 description | 3
263 | 10000_TL111 | 10000_TL111 | 10000_TL111 description | 3
302 | 10000_TL112 | 10000_TL112 | 10000_TL112 description | 3
341 | 10000_TL12 | Panel C Line-2 | 10000_TL12 description | 1
380 | 10000_TL13 | Living Wall Lights Status | 10000_TL13 description | 1
419 | 10000_TL14 | Tank AVG Monitor | 10000_TL14 description | 55
458 | 10000_TL15 | Tipping Bucket 1min | 10000_TL15 description | 18
497 | 10000_TL16 | Daily Rain Fall | 10000_TL16 description | 37
536 | 10000_TL17 | Panel A Power | 10000_TL17 description | 59
575 | 10000_TL18 | Pump-7 | 10000_TL18 description | 55
614 | 10000_TL19 | Pump-8 | 10000_TL19 description | 55
653 | 10000_TL2 | Pyranometer | 10000_TL2 description | 61
692 | 10000_TL20 | Pump-9 | 10000_TL20 description | 55
731 | 10000_TL21 | Pump-10 | 10000_TL21 description | 55
770 | 10000_TL24 | Pyranometer 5min AV | 10000_TL24 description | 61
809 | 10000_TL26 | Panel B Power | 10000_TL26 description | 59
848 | 10000_TL27 | Panel C Power | 10000_TL27 description | 59
887 | 10000_TL28 | Panel A Power 5min AV | 10000_TL28 description | 59
926 | 10000_TL29 | Panel B Power 5min AV | 10000_TL29 description | 59
93 | 10000_TL3 | West Room Temperature | 10000_TL3 description | 6
132 | 10000_TL30 | Panel C Power 5min AV | 10000_TL30 description | 59
171 | 10000_TL31 | Solar 1 Flow Rate | 10000_TL31 description | 28
210 | 10000_TL32 | Solar 1 Flow 5min AV | 10000_TL32 description | 26
248 | 10000_TL35 | Solar 2 Flow 5min AV | 10000_TL35 description | 26
287 | 10000_TL36 | Solar 2 Flow Rate | 10000_TL36 description | 28
326 | 10000_TL4 | East Room Temperature | 10000_TL4 description | 6
365 | 10000_TL6 | Living Wall Pump Status | 10000_TL6 description | 1
404 | 10000_TL66 | Solar Temp Bypass BV | 10000_TL66 description | 55
443 | 10000_TL7 | Panel A Line-1 | 10000_TL7 description | 1
482 | 10000_TL71 | PV System A KWh | 10000_TL71 description | 25
521 | 10000_TL72 | PV System B KWh | 10000_TL72 description | 25
560 | 10000_TL73 | PV System C KWh | 10000_TL73 description | 25
600 | 10000_TL74 | Tipping Bucket 15min | 10000_TL74 description | 18
639 | 10000_TL75 | Egauge System A Power | 10000_TL75 description | 3
678 | 10000_TL76 | Egauge Watts Calculated | 10000_TL76 description | 59
717 | 10000_TL77 | System A Watts | 10000_TL77 description | 59
756 | 10000_TL78 | System B Watts | 10000_TL78 description | 59
795 | 10000_TL79 | System C Watts | 10000_TL79 description | 59
834 | 10000_TL8 | Panel A Line-2 | 10000_TL8 description | 1
873 | 10000_TL80 | Tipping Bucket | 10000_TL80 description | 18
912 | 10000_TL81 | Sys 7 - Collector Return Temp | 10000_TL81 description | 6
79 | 10000_TL82 | Sys 7 - Heating Return Temp | 10000_TL82 description | 6
118 | 10000_TL83 | Sys 7 - Collector Supply Temp | 10000_TL83 description | 6
157 | 10000_TL84 | Sys 7 - Solar Fluid Rate | 10000_TL84 description | 28
196 | 10000_TL85 | Sys 7 - Heating Supply Temp | 10000_TL85 description | 6
234 | 10000_TL86 | Sys 7 - Heating Fluid Rate | 10000_TL86 description | 28
273 | 10000_TL87 | Sys 7 - Tank Temp Top | 10000_TL87 description | 6
312 | 10000_TL88 | Sys 7 - Tank Temp Bottom | 10000_TL88 description | 6
351 | 10000_TL89 | Sys 5B - Collector Return Temp | 10000_TL89 description | 6
390 | 10000_TL9 | Panel B Line-1 | 10000_TL9 description | 1
429 | 10000_TL90 | Sys 5B - Collector Supply Temp | 10000_TL90 description | 6
468 | 10000_TL91 | Sys 5C - Collector Return Temp | 10000_TL91 description | 6
507 | 10000_TL92 | Sys 5C - Collector Supply Temp | 10000_TL92 description | 6
546 | 10000_TL93 | Sys 7 - Energy Production (KJ) | 10000_TL93 description | 20
585 | 10000_TL94 | Sys 7 - Energy Production (KWh) | 10000_TL94 description | 25
624 | 10000_TL95 | Sys 7 - Energy Production (Wh) | 10000_TL95 description | 60
663 | 10000_TL97 | 10000_TL97 | 10000_TL97 description | 55
702 | 10000_TL98 | 10000_TL98 | 10000_TL98 description | 55
741 | 10001_TL1 | Collector Supply Temp | 10001_TL1 description | 6
780 | 10001_TL15 | Heating Fluid 5min Total | 10001_TL15 description | 26
819 | 10001_TL16 | CT Outlet 1 Amperage | 10001_TL16 description | 1
858 | 10001_TL18 | CT Outlet 1 Amperage 5min AV Total | 10001_TL18 description | 1
897 | 10001_TL19 | Collector Return-Supply Temp Diff 5min Total | 10001_TL19 description | 6
936 | 10001_TL2 | Collector Return Temp | 10001_TL2 description | 6
103 | 10001_TL20 | Heating Return-Supply Temp Diff 5min Total | 10001_TL20 description | 6
142 | 10001_TL22 | Solar Thermal System 1 kJ | 10001_TL22 description | 20
181 | 10001_TL23 | Solar Thermal System 1 kWh | 10001_TL23 description | 25
220 | 10001_TL24 | Solar Thermal System 1 Wh | 10001_TL24 description | 60
258 | 10001_TL25 | Pump1 | 10001_TL25 description | 55
297 | 10001_TL26 | Solar Fluid Rate | 10001_TL26 description | 28
336 | 10001_TL27 | Heating Return-Supply Temp Diff | 10001_TL27 description | 6
375 | 10001_TL28 | Collector Return-Supply Temp Diff | 10001_TL28 description | 6
414 | 10001_TL3 | Heating Supply Temp | 10001_TL3 description | 6
453 | 10001_TL4 | Heating Return Temp | 10001_TL4 description | 6
492 | 10001_TL5 | Tank Temp. Top Sys1 | 10001_TL5 description | 6
531 | 10001_TL9 | Heating Fluid Rate | 10001_TL9 description | 28
570 | 10002_TL1 | Collector Supply Temp | 10002_TL1 description | 6
610 | 10002_TL12 | Solar Fluid 5min Total | 10002_TL12 description | 26
649 | 10002_TL15 | Heating Fluid 5min Total | 10002_TL15 description | 26
688 | 10002_TL16 | CT Outlet 2 Amperage | 10002_TL16 description | 1
727 | 10002_TL18 | CT Outlet 2 Amperage 5min Total | 10002_TL18 description | 1
766 | 10002_TL19 | Collector Return-Supply Temp Diff 5min Total | 10002_TL19 description | 6
805 | 10002_TL2 | Collector Return Temp | 10002_TL2 description | 6
844 | 10002_TL20 | Heating Return-Supply Temp Diff 5min Total | 10002_TL20 description | 6
883 | 10002_TL21 | Solar Thermal System 2 kJ | 10002_TL21 description | 20
922 | 10002_TL22 | Solar Thermal System 2 kWh | 10002_TL22 description | 25
89 | 10002_TL23 | Solar Thermal System 2 Wh | 10002_TL23 description | 60
128 | 10002_TL25 | Pump-2 | 10002_TL25 description | 55
167 | 10002_TL26 | Collector Return-Supply Temp Diff | 10002_TL26 description | 6
206 | 10002_TL27 | Heating Return-Supply Temp Diff | 10002_TL27 description | 6
244 | 10002_TL28 | 10002_TL28 | 10002_TL28 description | 1
283 | 10002_TL3 | Heating Supply Temp | 10002_TL3 description | 6
322 | 10002_TL4 | Heating Return Temp | 10002_TL4 description | 6
361 | 10002_TL5 | Tank Temp. Top Sys2 | 10002_TL5 description | 6
400 | 10002_TL8 | Solar Fluid Rate | 10002_TL8 description | 28
439 | 10002_TL9 | Heating Fluid Rate | 10002_TL9 description | 28
478 | 10003_TL1 | Collector Supply Temp | 10003_TL1 description | 6
517 | 10003_TL12 | Solar Fluid 5min Total | 10003_TL12 description | 26
556 | 10003_TL15 | Heating Fluid 5min Total | 10003_TL15 description | 26
596 | 10003_TL16 | CT Outlet 3 Amperage Usage | 10003_TL16 description | 1
635 | 10003_TL18 | CT Outlet 3 Amperage Usage 5min Total | 10003_TL18 description | 1
674 | 10003_TL19 | Collector Return-Supply Temp Diff 5min Total | 10003_TL19 description | 6
713 | 10003_TL2 | Collector Return Temp | 10003_TL2 description | 6
752 | 10003_TL20 | Heating Return-Supply Temp Diff 5min Total | 10003_TL20 description | 6
791 | 10003_TL21 | Solar Thermal System 3 kJ | 10003_TL21 description | 20
830 | 10003_TL22 | Solar Thermal System 3 kWh | 10003_TL22 description | 25
869 | 10003_TL23 | Solar Thermal System 3 Wh | 10003_TL23 description | 60
908 | 10003_TL25 | Pump-3 | 10003_TL25 description | 55
947 | 10003_TL26 | Collector Return-Supply Temp Diff | 10003_TL26 description | 6
114 | 10003_TL27 | Heating Return-Supply Temp Diff | 10003_TL27 description | 6
153 | 10003_TL3 | Heating Supply Temp | 10003_TL3 description | 6
192 | 10003_TL4 | Heating Return Temp | 10003_TL4 description | 6
230 | 10003_TL5 | Tank Temp. Top Sys3 | 10003_TL5 description | 6
269 | 10003_TL8 | Solar Fluid Rate | 10003_TL8 description | 28
308 | 10003_TL9 | Heating Fluid Rate | 10003_TL9 description | 28
347 | 10004_TL1 | Collector Supply Temp | 10004_TL1 description | 6
386 | 10004_TL12 | Solar Fluid 5min Total | 10004_TL12 description | 26
425 | 10004_TL15 | Heating Fluid 5min Total | 10004_TL15 description | 28
464 | 10004_TL16 | CT Outlet 4 Amperage | 10004_TL16 description | 1
503 | 10004_TL18 | CT Outlet 4 Amperage 5min Total | 10004_TL18 description | 1
542 | 10004_TL19 | Collector Return-Supply Temp Diff 5min Total | 10004_TL19 description | 6
581 | 10004_TL2 | Collector Return Temp | 10004_TL2 description | 6
620 | 10004_TL20 | Heating Return-Supply Temp Diff 5min Total | 10004_TL20 description | 6
659 | 10004_TL21 | Solar Thermal System 4 kJ | 10004_TL21 description | 20
698 | 10004_TL22 | Solar Thermal System 4 kWh | 10004_TL22 description | 25
737 | 10004_TL23 | Solar Thermal System 4 Wh | 10004_TL23 description | 60
776 | 10004_TL25 | Pump-4 | 10004_TL25 description | 55
815 | 10004_TL26 | Collector Return-Supply Temp Diff | 10004_TL26 description | 6
854 | 10004_TL27 | Heating Return-Supply Temp Diff | 10004_TL27 description | 6
893 | 10004_TL3 | Heating Supply Temp | 10004_TL3 description | 6
932 | 10004_TL4 | Heating Return Temp | 10004_TL4 description | 6
99 | 10004_TL5 | Tank Temp. Top Sys4 | 10004_TL5 description | 6
138 | 10004_TL8 | Solar Fluid Rate | 10004_TL8 description | 28
177 | 10004_TL9 | Heating Fluid Rate | 10004_TL9 description | 28
216 | 10005_TL1 | Sys 5A - Collector Supply Temp | 10005_TL1 description | 6
254 | 10005_TL11 | Heating Fluid Rate 5min Total | 10005_TL11 description | 28
293 | 10005_TL12 | Sys 5A - Solar Fluid Rate 5min Sum | 10005_TL12 description | 28
332 | 10005_TL14 | Sys 5A - Solar Fluid Rate | 10005_TL14 description | 28
371 | 10005_TL15 | Heating Fluid Rate | 10005_TL15 description | 28
410 | 10005_TL17 | Sys 5A - Collector Return-Supply Temp Diff 5min Avg | 10005_TL17 description | 6
449 | 10005_TL18 | Heating Return-Supply Temp Diff 5min Avg | 10005_TL18 description | 6
488 | 10005_TL19 | Solar Thermal System 5A KJ | 10005_TL19 description | 20
527 | 10005_TL2 | Sys 5A - Collector Return Temp | 10005_TL2 description | 6
566 | 10005_TL20 | Solar Thermal System 5A KW | 10005_TL20 description | 24
606 | 10005_TL21 | Solar Thermal System 5A W | 10005_TL21 description | 59
645 | 10005_TL25 | Pump-5 | 10005_TL25 description | 55
684 | 10005_TL26 | 10005_TL26 | 10005_TL26 description | 46
723 | 10005_TL27 | 10005_TL27 | 10005_TL27 description | 46
762 | 10005_TL28 | 10005_TL28 | 10005_TL28 description | 46
801 | 10005_TL29 | 10005_TL29 | 10005_TL29 description | 46
840 | 10005_TL3 | Sys 5 - Heating Supply Temp | 10005_TL3 description | 6
879 | 10005_TL30 | 10005_TL30 | 10005_TL30 description | 46
918 | 10005_TL31 | Sys 5B - Solar Fluid Rate 5min Sum | 10005_TL31 description | 26
85 | 10005_TL32 | Sys 5B - Solar Fluid Rate | 10005_TL32 description | 28
124 | 10005_TL33 | Sys 5B - Collector Supply Temp | 10005_TL33 description | 6
163 | 10005_TL34 | Sys 5B - Collector Return Temp | 10005_TL34 description | 6
202 | 10005_TL35 | Sys 5B - Collector Return-Supply Temp Diff 5min Avg | 10005_TL35 description | 6
240 | 10005_TL36 | Sys 5B - Production (KJ) | 10005_TL36 description | 20
279 | 10005_TL37 | Sys 5B - Production (KW) | 10005_TL37 description | 25
318 | 10005_TL38 | Sys 5B - Production (W) | 10005_TL38 description | 60
357 | 10005_TL39 | Sys 5C - Solar Fluid Rate 5min Sum | 10005_TL39 description | 26
396 | 10005_TL4 | Sys 5 - Heating Return Temp | 10005_TL4 description | 6
435 | 10005_TL40 | Sys 5C - Solar Fluid Rate | 10005_TL40 description | 28
474 | 10005_TL41 | Sys 5C - Collector Supply Temp | 10005_TL41 description | 6
513 | 10005_TL42 | Sys 5C - Collector Return Temp | 10005_TL42 description | 6
552 | 10005_TL43 | Sys 5C - Collector Return-Supply Temp Diff 5min Avg TL | 10005_TL43 description | 6
592 | 10005_TL44 | Sys 5C - Production (KJ) | 10005_TL44 description | 20
631 | 10005_TL45 | Sys 5C - Production (KW) | 10005_TL45 description | 25
670 | 10005_TL46 | Sys 5C - Production (W) | 10005_TL46 description | 60
709 | 10005_TL5 | Tank Temp. Top Sys5 | 10005_TL5 description | 6
748 | 10005_TL6 | CT Outlet 5 Amperage | 10005_TL6 description | 1
787 | 10005_TL8 | CT Outlet 5 Amperage 5min Total | 10005_TL8 description | 1
826 | 10006_TL1 | Collector Supply Temp | 10006_TL1 description | 6
865 | 10006_TL12 | Solar Fluid 5min Total | 10006_TL12 description | 28
904 | 10006_TL15 | Heating Fluid 5min Total | 10006_TL15 description | 28
943 | 10006_TL18 | CT Outlet 6 Amperage 5min Total | 10006_TL18 description | 1
110 | 10006_TL19 | Collector Return-Supply Temp Diff 5min Total | 10006_TL19 description | 6
149 | 10006_TL2 | Collector Return Temp | 10006_TL2 description | 6
188 | 10006_TL20 | Heating Return-Supply Temp Diff 5min Total | 10006_TL20 description | 6
226 | 10006_TL21 | Solar Thermal System 6 kJ | 10006_TL21 description | 20
265 | 10006_TL22 | Solar Thermal System 6 kWh | 10006_TL22 description | 25
304 | 10006_TL23 | Solar Thermal System 6 Wh | 10006_TL23 description | 60
343 | 10006_TL25 | Pump-6 | 10006_TL25 description | 55
382 | 10006_TL26 | Tracker Test1 | 10006_TL26 description | 46
421 | 10006_TL27 | Tracker Test2 | 10006_TL27 description | 46
460 | 10006_TL28 | Tracker Test3 | 10006_TL28 description | 46
499 | 10006_TL29 | Tracker Test4 Rotate | 10006_TL29 description | 46
538 | 10006_TL3 | Heating Supply Temp | 10006_TL3 description | 6
577 | 10006_TL30 | Tracker input test 1 | 10006_TL30 description | 55
616 | 10006_TL4 | Heating Return Temp | 10006_TL4 description | 6
655 | 10006_TL5 | Tank Temp. Top Sys6 | 10006_TL5 description | 6
694 | 10006_TL6 | CT Outlet 6 Amperage | 10006_TL6 description | 1
733 | 10006_TL8 | Solar Fluid Rate | 10006_TL8 description | 28
772 | 10006_TL9 | Heating Fluid Rate | 10006_TL9 description | 28
811 | 20000_TL1 | HRV1_2_Freeze_COV | 20000_TL1 description | 3
850 | 20000_TL10 | HRV1_Enable_COV | 20000_TL10 description | 3
889 | 20000_TL100 | HRV1_2_Damper_1_POLL | 20000_TL100 description | 46
928 | 20000_TL101 | HRV1_2_Damper_2_POLL | 20000_TL101 description | 46
95 | 20000_TL102 | HRV1_2_Damper_3_POLL | 20000_TL102 description | 46
134 | 20000_TL103 | HWS_Boiler_Reset_POLL | 20000_TL103 description | 46
173 | 20000_TL104 | HWS_OAT_POLL | 20000_TL104 description | 6
212 | 20000_TL105 | HRV_Preheat_HC3_SP_POLL | 20000_TL105 description | 6
378 | 20000_TL106 | HRV_Reheat_HC1_SP_POLL | 20000_TL106 description | 6
417 | 20000_TL107 | HRV_Reheat_HC2_SP_POLL | 20000_TL107 description | 6
456 | 20000_TL108 | HWS_Supply_Temp_SP_POLL | 20000_TL108 description | 6
495 | 20000_TL109 | SLAB_Supply_Temp_SP_POLL | 20000_TL109 description | 6
250 | 20000_TL11 | HRV1_High_Speed_Enable_COV | 20000_TL11 description | 3
289 | 20000_TL110 | SLAB_Zn1_Basement_Avg_Space_Temp_AV_POLL | 20000_TL110 description | 6
328 | 20000_TL111 | SLAB_Zn2_1st_Fl_East_Avg_Space_Temp_AV_POLL | 20000_TL111 description | 6
367 | 20000_TL112 | SLAB_Zn3_1st_Fl_West_Avg_Space_Temp_AV_POLL | 20000_TL112 description | 6
406 | 20000_TL113 | SLAB_Zn4_2nd_Fl_East_Avg_Space_Temp_AV_POLL | 20000_TL113 description | 6
445 | 20000_TL114 | SLAB_Zn5_2nd_Fl_West_Avg_Space_Temp_AV_POLL | 20000_TL114 description | 6
484 | 20000_TL115 | SLAB_Zn1_Basement_Avg_Space_SP_AV_POLL | 20000_TL115 description | 6
523 | 20000_TL116 | SLAB_Zn2_1st_Fl_East_Avg_Space_SP_AV_POLL | 20000_TL116 description | 6
562 | 20000_TL117 | SLAB_Zn3_1st_Fl_West_Avg_Space_SP_AV_POLL | 20000_TL117 description | 6
602 | 20000_TL118 | SLAB_Zn4_2nd_Fl_East_Avg_Space_SP_AV_POLL | 20000_TL118 description | 6
641 | 20000_TL119 | SLAB_Zn5_2nd_Fl_West_Avg_Space_SP_AV_POLL | 20000_TL119 description | 6
680 | 20000_TL12 | HRV2_Enable_COV | 20000_TL12 description | 3
719 | 20000_TL120 | SLAB_Zn1_Basement_Avg_Space_Var_AV_POLL | 20000_TL120 description | 6
758 | 20000_TL121 | SLAB_Zn2_1st_Fl_East_Avg_Space_Var_AV_POLL | 20000_TL121 description | 6
797 | 20000_TL122 | SLAB_Zn3_1st_Fl_West_Avg_Space_Var_AV_POLL | 20000_TL122 description | 6
836 | 20000_TL123 | SLAB_Zn4_2nd_Fl_East_Avg_Space_Var_AV_POLL | 20000_TL123 description | 6
875 | 20000_TL124 | SLAB_Zn5_2nd_Fl_West_Avg_Space_Var_AV_POLL | 20000_TL124 description | 6
914 | 20000_TL125 | SLAB_Zone_Deadband_AV_POLL | 20000_TL125 description | 6
81 | 20000_TL126 | SLAB_Zone_Heating_AV_POLL | 20000_TL126 description | 43
120 | 20000_TL127 | SLAB_Zone_Cooling_AV_POLL | 20000_TL127 description | 43
159 | 20000_TL128 | SLAB_Zone_Satisfied_AV_POLL | 20000_TL128 description | 43
198 | 20000_TL129 | SLAB_Supply_SP_Bias_AV_POLL | 20000_TL129 description | 43
236 | 20000_TL13 | HRV2_High_Speed_Enable_COV | 20000_TL13 description | 3
275 | 20000_TL130 | SLAB_Supply_Temp_SP_Initial_POLL | 20000_TL130 description | 6
314 | 20000_TL131 | CUH1_Space_Temp_AV_POLL | 20000_TL131 description | 46
353 | 20000_TL132 | CUH1_Valve_AV_POLL | 20000_TL132 description | 46
392 | 20000_TL133 | CUH1_Space_Temp_SP_POLL | 20000_TL133 description | 46
431 | 20000_TL134 | Rain_Water_P2_Status_BV_COV | 20000_TL134 description | 3
900 | 20000_TL135 | Rain_Water_Tank_Filled_BV_COV | 20000_TL135 description | 3
470 | 20000_TL136 | Rain_Water_Tank_Min_Level_AV_POLL | 20000_TL136 description | 46
262 | 20000_TL137 | OccupancyDetection_MF01 | 20000_TL137 description | 44
301 | 20000_TL138 | OccupancyDetection_MF02 | 20000_TL138 description | 44
340 | 20000_TL139 | OccupancyDetection_MF03 | 20000_TL139 description | 44
509 | 20000_TL14 | SF1_Fan_Enable_COV | 20000_TL14 description | 3
379 | 20000_TL140 | OccupancyDetection_MF04 | 20000_TL140 description | 44
418 | 20000_TL141 | OccupancyDetection_MF11 | 20000_TL141 description | 44
457 | 20000_TL142 | OccupancyDetection_MF12 | 20000_TL142 description | 44
496 | 20000_TL143 | OccupancyDetection_MF13 | 20000_TL143 description | 44
535 | 20000_TL144 | OccupancyDetection_MF14 | 20000_TL144 description | 44
574 | 20000_TL145 | OccupancyDetection_MF15 | 20000_TL145 description | 44
613 | 20000_TL146 | OccupancyDetection_MF21 | 20000_TL146 description | 44
652 | 20000_TL147 | OccupancyDetection_MF22 | 20000_TL147 description | 44
691 | 20000_TL148 | OccupancyDetection_MF23 | 20000_TL148 description | 44
730 | 20000_TL149 | OccupancyDetection_MF24 | 20000_TL149 description | 44
548 | 20000_TL15 | SLAB_P4A_Enable_COV | 20000_TL15 description | 3
769 | 20000_TL150 | OccupancyDetection_MF25 | 20000_TL150 description | 44
587 | 20000_TL16 | SLAB_P4B_Enable_COV | 20000_TL16 description | 3
626 | 20000_TL17 | HC_P2A_Enable_COV | 20000_TL17 description | 3
665 | 20000_TL18 | HC_P2B_Enable_COV | 20000_TL18 description | 3
704 | 20000_TL19 | HWS_P1A_Enable_COV | 20000_TL19 description | 3
743 | 20000_TL2 | HRV1_2_FireStat_COV | 20000_TL2 description | 3
782 | 20000_TL20 | HWS_P1B_Enable_COV | 20000_TL20 description | 3
821 | 20000_TL21 | HWS_BLR_P7_Enable_COV | 20000_TL21 description | 3
860 | 20000_TL22 | DHW_P5_Enable_COV | 20000_TL22 description | 3
899 | 20000_TL23 | DHW_P6_Enable_COV | 20000_TL23 description | 3
938 | 20000_TL24 | Rain_Water_Valve_COV | 20000_TL24 description | 3
105 | 20000_TL25 | Rain_Water_LivingWall_Valve_COV | 20000_TL25 description | 3
144 | 20000_TL26 | Rain_Water_JP1_Enable_COV | 20000_TL26 description | 3
183 | 20000_TL27 | Rain_Water_P2_Enable_COV | 20000_TL27 description | 3
222 | 20000_TL28 | HRV_Dampers_Open_BV_COV | 20000_TL28 description | 3
260 | 20000_TL29 | HRV1_SupFan_Status_BV_COV | 20000_TL29 description | 3
299 | 20000_TL3 | HRV1_2_Damper_EndSw_1_COV | 20000_TL3 description | 3
338 | 20000_TL30 | HRV2_SupFan_Status_BV_COV | 20000_TL30 description | 3
377 | 20000_TL31 | HRV1_High_Speed_Enable_BV_COV | 20000_TL31 description | 3
416 | 20000_TL32 | HRV2_High_Speed_Enable_BV_COV | 20000_TL32 description | 3
455 | 20000_TL33 | HC_Pump_Call_BV_COV | 20000_TL33 description | 3
494 | 20000_TL34 | HC_P2A_Status_BV_COV | 20000_TL34 description | 3
533 | 20000_TL35 | HC_P2B_Status_BV_COV | 20000_TL35 description | 3
572 | 20000_TL36 | HRV1_2_Damper1_Ctrl_BV_COV | 20000_TL36 description | 3
612 | 20000_TL37 | HRV1_2_Damper2_Ctrl_BV_COV | 20000_TL37 description | 3
651 | 20000_TL38 | HRV1_2_Damper3_Ctrl_BV_COV | 20000_TL38 description | 3
690 | 20000_TL39 | HRV1_2_SupFan_Status_BV_COV | 20000_TL39 description | 3
729 | 20000_TL4 | HRV1_2_Damper_EndSw_2_COV | 20000_TL4 description | 3
768 | 20000_TL40 | SF1_Fan_Status_BV_COV | 20000_TL40 description | 3
807 | 20000_TL41 | HRV1_ExhFan_Status_BV_COV | 20000_TL41 description | 3
846 | 20000_TL42 | HRV2_ExhFan_Status_BV_COV | 20000_TL42 description | 3
885 | 20000_TL43 | Schedule_BV_COV | 20000_TL43 description | 3
924 | 20000_TL44 | HWS_Enable_BV_COV | 20000_TL44 description | 3
91 | 20000_TL45 | HWS_P1A_Status_BV_COV | 20000_TL45 description | 3
130 | 20000_TL46 | HWS_P1B_Status_BV_COV | 20000_TL46 description | 3
169 | 20000_TL47 | HWS_Boiler_P7_Status_BV_COV | 20000_TL47 description | 3
208 | 20000_TL48 | SLAB_P4A_Status_BV_COV | 20000_TL48 description | 3
246 | 20000_TL49 | SLAB_P4B_Status_BV_COV | 20000_TL49 description | 3
285 | 20000_TL5 | HRV1_2_Damper_EndSw_3_COV | 20000_TL5 description | 3
324 | 20000_TL50 | SLAB_Enable_BV_COV | 20000_TL50 description | 3
363 | 20000_TL51 | DHW_P5_Status_BV_COV | 20000_TL51 description | 3
402 | 20000_TL52 | DHW_P6_Status_BV_COV | 20000_TL52 description | 3
441 | 20000_TL53 | SLAB_Time_BV_COV | 20000_TL53 description | 3
534 | 20000_TL54 | SLAB_ResetTime_BV_COV | 20000_TL54 description | 3
480 | 20000_TL55 | CUH1_Fan_Status_BV_COV | 20000_TL55 description | 3
519 | 20000_TL56 | CUH1_Fan_Command_BV_COV | 20000_TL56 description | 3
558 | 20000_TL57 | Rain_Water_JP1_Status_BV_COV | 20000_TL57 description | 3
573 | 20000_TL58 | Rain_Water_Needed_BV_COV | 20000_TL58 description | 3
598 | 20000_TL59 | HRV_Mode_COV | 20000_TL59 description | 55
637 | 20000_TL6 | Rain_Water_Press_Sw_COV | 20000_TL6 description | 3
676 | 20000_TL60 | Zn1_Basement_MV_COV | 20000_TL60 description | 55
715 | 20000_TL61 | Zn2_1st_Fl_East_MV_COV | 20000_TL61 description | 55
754 | 20000_TL62 | Zn3_1st_Fl_West_MV_COV | 20000_TL62 description | 55
793 | 20000_TL63 | Zn4_2nd_Fl_East_MV_COV | 20000_TL63 description | 55
832 | 20000_TL64 | Zn5_2nd_Fl_West_MV_COV | 20000_TL64 description | 55
871 | 20000_TL65 | HRV1_SupFan_Amps_POLL | 20000_TL65 description | 1
910 | 20000_TL66 | HRV1_ExhFan_Amps_POLL | 20000_TL66 description | 1
949 | 20000_TL67 | HRV2_SupFan_Amps_POLL | 20000_TL67 description | 1
116 | 20000_TL68 | HRV2_ExhFan_Amps_POLL | 20000_TL68 description | 1
155 | 20000_TL69 | SLAB_Supply_Water_Temp_POLL | 20000_TL69 description | 6
194 | 20000_TL7 | HWS_Boiler_Alarm_COV | 20000_TL7 description | 3
232 | 20000_TL70 | SLAB_Return_Water_Temp_POLL | 20000_TL70 description | 6
271 | 20000_TL71 | HWS_Post_Slab_Temp_POLL | 20000_TL71 description | 6
310 | 20000_TL72 | HWS_Post_HP_Temp_POLL | 20000_TL72 description | 6
349 | 20000_TL73 | HWS_Post_Solar_Temp_POLL | 20000_TL73 description | 6
388 | 20000_TL74 | HWS_Post_DHW_Tank_Temp_POLL | 20000_TL74 description | 6
427 | 20000_TL75 | HRV1_Supply_Temp_POLL | 20000_TL75 description | 6
466 | 20000_TL76 | HRV2_Supply_Temp_POLL | 20000_TL76 description | 6
505 | 20000_TL77 | HRV1_2_HC3_Supply_Temp_POLL | 20000_TL77 description | 6
544 | 20000_TL78 | HRV1_2_Return_Temp_POLL | 20000_TL78 description | 6
583 | 20000_TL79 | SF1_Fan_Amps_POLL | 20000_TL79 description | 1
622 | 20000_TL8 | HRV1_2_Smoke_Alarm_COV | 20000_TL8 description | 3
661 | 20000_TL80 | SLAB_P4A_Amps_POLL | 20000_TL80 description | 1
700 | 20000_TL81 | SLAB_P4B_Amps_POLL | 20000_TL81 description | 1
739 | 20000_TL82 | HC_P2A_Amps_POLL | 20000_TL82 description | 1
778 | 20000_TL83 | HC_P2B_Amps_POLL | 20000_TL83 description | 1
817 | 20000_TL84 | HWS_P1A_Amps_POLL | 20000_TL84 description | 1
856 | 20000_TL85 | HWS_P1B_Amps_POLL | 20000_TL85 description | 1
895 | 20000_TL86 | HWS_Boiler_P7_Amps_POLL | 20000_TL86 description | 1
934 | 20000_TL87 | HWS_Boiler_Amps_POLL | 20000_TL87 description | 1
101 | 20000_TL88 | HWS_Post_Boiler_Temp_POLL | 20000_TL88 description | 6
140 | 20000_TL89 | DHW_P5_Amps_POLL | 20000_TL89 description | 1
179 | 20000_TL9 | Rain_Water_Float_COV | 20000_TL9 description | 3
218 | 20000_TL90 | DHW_P6_Amps_POLL | 20000_TL90 description | 1
2276 | 20000_TL900 | MF0-1 | 20000_TL900 Description | 46
2277 | 20000_TL901 | MF0-2 | 20000_TL901 Description | 46
2278 | 20000_TL902 | MF0-3 | 20000_TL902 Description | 46
2279 | 20000_TL903 | MF0-4 | 20000_TL903 Description | 46
2280 | 20000_TL904 | MF1-1 | 20000_TL904 Description | 46
2281 | 20000_TL905 | MF1-2 | 20000_TL905 Description | 46
2282 | 20000_TL906 | MF1-3 | 20000_TL906 Description | 46
2283 | 20000_TL907 | MF1-4 | 20000_TL907 Description | 46
2301 | 20000_TL908 | 20000_TL908 | 20000_TL908 description | 46
2302 | 20000_TL909 | 20000_TL909 | 20000_TL909 description | 46
256 | 20000_TL91 | HWS_Post_DHW_Backup_Temp_POLL | 20000_TL91 description | 6
2303 | 20000_TL910 | 20000_TL910 | 20000_TL910 description | 46
2304 | 20000_TL911 | 20000_TL911 | 20000_TL911 description | 46
2305 | 20000_TL912 | 20000_TL912 | 20000_TL912 description | 46
2306 | 20000_TL913 | 20000_TL913 | 20000_TL913 description | 46
2307 | 20000_TL914 | 20000_TL914 | 20000_TL914 description | 46
295 | 20000_TL92 | HWS_Outside_Temp_POLL | 20000_TL92 description | 6
334 | 20000_TL93 | Rain_Water_Level_POLL | 20000_TL93 description | 46
373 | 20000_TL94 | Rain_Water_JP1_Amps_POLL | 20000_TL94 description | 1
412 | 20000_TL95 | Rain_Water_P2_Amps_POLL | 20000_TL95 description | 1
451 | 20000_TL96 | HRV1_2_HC3_Valve_POLL | 20000_TL96 description | 46
490 | 20000_TL97 | HRV1_HC1_Valve_POLL | 20000_TL97 description | 46
529 | 20000_TL98 | HRV2_HC2_Valve_POLL | 20000_TL98 description | 46
568 | 20000_TL99 | SLAB_Heating_Valve_POLL | 20000_TL99 description | 46
608 | 20002_TL1 | EF_ExhFan1_Enable_COV | 20002_TL1 description | 3
647 | 20002_TL2 | EF_ExhFan2_Enable_COV | 20002_TL2 description | 3
686 | 20002_TL3 | Schedule_BV_COV | 20002_TL3 description | 3
725 | 20002_TL4 | EF_ExhFan1_Status_BV_COV | 20002_TL4 description | 3
764 | 20002_TL5 | EF_ExhFan2_Status_BV_COV | 20002_TL5 description | 3
803 | 20002_TL6 | EF_ExhFan2_Low_Amps_BV_COV | 20002_TL6 description | 3
842 | 20002_TL7 | EF_ExhFan1_Amps_POLL | 20002_TL7 description | 1
881 | 20002_TL8 | EF_ExhFan2_Amps_POLL | 20002_TL8 description | 1
808 | 20003_TL1 | Slab_Temperature | 20003_TL1 description | 6
847 | 20003_TL2 | Temperature | 20003_TL2 description | 6
886 | 20003_TL3 | Room_Temp_SP | 20003_TL3 description | 6
925 | 20003_TL4 | Slab_Valve | 20003_TL4 description | 46
92 | 20003_TL5 | Trend 5 | 20003_TL5 description | 44
131 | 20004_TL1 | Slab_Temperature | 20004_TL1 description | 6
170 | 20004_TL2 | Temperature | 20004_TL2 description | 6
209 | 20004_TL3 | Room_Temp_SP | 20004_TL3 description | 6
247 | 20004_TL4 | Slab_Valve_COV | 20004_TL4 description | 46
286 | 20005_TL1 | Slab_Temperature | 20005_TL1 description | 6
325 | 20005_TL2 | Temperature | 20005_TL2 description | 6
364 | 20005_TL3 | Room_Temp_SP | 20005_TL3 description | 6
403 | 20005_TL4 | Slab_Valve | 20005_TL4 description | 46
442 | 20006_TL1 | Slab_Temperature | 20006_TL1 description | 6
481 | 20006_TL2 | Temperature | 20006_TL2 description | 6
520 | 20006_TL3 | Room_Temp_SP | 20006_TL3 description | 6
483 | 20006_TL4 | Slab_Valve_COV | 20006_TL4 description | 46
559 | 20007_TL1 | Slab_Temperature | 20007_TL1 description | 6
599 | 20007_TL2 | Temperature | 20007_TL2 description | 6
638 | 20007_TL3 | Room_Temp_SP | 20007_TL3 description | 6
677 | 20007_TL4 | Slab_Valve_COV | 20007_TL4 description | 46
716 | 20007_TL5 | Trend 5 | 20007_TL5 description | 44
755 | 20008_TL1 | Slab_Temperature | 20008_TL1 description | 6
794 | 20008_TL2 | Temperature | 20008_TL2 description | 6
833 | 20008_TL3 | Room_Temp_SP | 20008_TL3 description | 6
872 | 20008_TL4 | Slab_Valve_COV | 20008_TL4 description | 46
911 | 20009_TL1 | Slab_Temperature | 20009_TL1 description | 6
78 | 20009_TL2 | Temperature | 20009_TL2 description | 6
117 | 20009_TL3 | Room_Temp_SP | 20009_TL3 description | 6
156 | 20009_TL4 | Slab_Valve_COV | 20009_TL4 description | 46
195 | 20010_TL1 | Slab_Temperature | 20010_TL1 description | 6
233 | 20010_TL2 | Temperature | 20010_TL2 description | 6
272 | 20010_TL3 | Room_Temp_SP | 20010_TL3 description | 6
311 | 20010_TL4 | Slab_Valve_COV | 20010_TL4 description | 46
350 | 20011_TL1 | Slab_Temperature | 20011_TL1 description | 6
389 | 20011_TL2 | Temperature | 20011_TL2 description | 6
428 | 20011_TL3 | Room_Temp_SP | 20011_TL3 description | 6
467 | 20011_TL4 | Slab_Valve_COV | 20011_TL4 description | 46
506 | 20012_TL1 | Slab_Temperature | 20012_TL1 description | 6
545 | 20012_TL2 | Temperature | 20012_TL2 description | 6
584 | 20012_TL3 | Room_Temp_SP | 20012_TL3 description | 6
623 | 20012_TL4 | Slab_Valve_COV | 20012_TL4 description | 46
662 | 20013_TL1 | Slab_Temperature | 20013_TL1 description | 6
701 | 20013_TL2 | Temperature | 20013_TL2 description | 6
740 | 20013_TL3 | Room_Temp_SP | 20013_TL3 description | 6
779 | 20013_TL4 | Slab_Valve_COV | 20013_TL4 description | 46
818 | 20014_TL1 | Slab_Temperature | 20014_TL1 description | 6
857 | 20014_TL2 | Temperature | 20014_TL2 description | 6
896 | 20014_TL3 | Room_Temp_SP | 20014_TL3 description | 6
935 | 20014_TL4 | Slab_Valve_COV | 20014_TL4 description | 46
102 | 20015_TL1 | Slab_Temperature | 20015_TL1 description | 6
141 | 20015_TL2 | Temperature | 20015_TL2 description | 6
180 | 20015_TL3 | Room_Temp_SP | 20015_TL3 description | 6
219 | 20015_TL4 | Slab_Valve_COV | 20015_TL4 description | 46
257 | 20016_TL1 | Slab_Temperature | 20016_TL1 description | 6
296 | 20016_TL2 | Temperature | 20016_TL2 description | 6
335 | 20016_TL3 | Room_Temp_SP | 20016_TL3 description | 6
374 | 20016_TL4 | Slab_Valve_COV | 20016_TL4 description | 46
413 | 20016_TL5 | CO2_Sensor | 20016_TL5 description | 44
452 | 30000_TL1 | GBT Total Consumption | 30000_TL1 description | 59
920 | 30000_TL10 | S0FTH292-TL | 30000_TL10 description | 6
491 | 30000_TL100 | BTK3-CHP3-Timer | 30000_TL100 description | 55
530 | 30000_TL101 | FT-HeatingLoopSupply-CHP1 | 30000_TL101 description | 26
569 | 30000_TL102 | FT-City_Water-CHP1 | 30000_TL102 description | 26
609 | 30000_TL103 | FT-BTK_Supply-CHP1 | 30000_TL103 description | 26
648 | 30000_TL104 | FT-HeatingLoopSupply-CHP2 | 30000_TL104 description | 26
687 | 30000_TL105 | FT-City_Water-CHP2 | 30000_TL105 description | 26
726 | 30000_TL106 | FT-HeatingLoopSupply-CHP3 | 30000_TL106 description | 26
765 | 30000_TL107 | FT-BTK_Supply-CHP3 | 30000_TL107 description | 28
804 | 30000_TL108 | S0FS289 | 30000_TL108 description | 6
843 | 30000_TL109 | OccupancyDetection_MF01 | 30000_TL109 description | 55
87 | 30000_TL11 | S0FTH290-TL | 30000_TL11 description | 6
882 | 30000_TL110 | OccupancyDetection_MF02 | 30000_TL110 description | 55
921 | 30000_TL111 | OccupancyDetection_MF03 | 30000_TL111 description | 55
88 | 30000_TL112 | OccupancyDetection_MF04 | 30000_TL112 description | 55
127 | 30000_TL113 | OccupancyDetection_MF11 | 30000_TL113 description | 55
166 | 30000_TL114 | OccupancyDetection_MF12 | 30000_TL114 description | 55
205 | 30000_TL115 | OccupancyDetection_MF13 | 30000_TL115 description | 55
243 | 30000_TL116 | OccupancyDetection_MF14 | 30000_TL116 description | 55
282 | 30000_TL117 | OccupancyDetection_MF15 | 30000_TL117 description | 55
321 | 30000_TL118 | OccupancyDetection_MF21 | 30000_TL118 description | 55
360 | 30000_TL119 | OccupancyDetection_MF22 | 30000_TL119 description | 55
126 | 30000_TL12 | S2SWV105-TL | 30000_TL12 description | 6
399 | 30000_TL120 | OccupancyDetection_MF23 | 30000_TL120 description | 55
438 | 30000_TL121 | OccupancyDetection_MF24 | 30000_TL121 description | 55
477 | 30000_TL122 | OccupancyDetection_MF25 | 30000_TL122 description | 55
516 | 30000_TL123 | EF1-Enable-CHP1 | 30000_TL123 description | 3
555 | 30000_TL124 | CT-EF1-CHP1 | 30000_TL124 description | 1
595 | 30000_TL125 | EF2-Enable-CHP2 | 30000_TL125 description | 3
634 | 30000_TL126 | EF3-Enable-CHP3 | 30000_TL126 description | 3
673 | 30000_TL127 | CHP1-Enable | 30000_TL127 description | 3
712 | 30000_TL128 | CHP2-Enable | 30000_TL128 description | 3
751 | 30000_TL129 | CHP3-Enable | 30000_TL129 description | 3
165 | 30000_TL13 | S2SWV104-TL | 30000_TL13 description | 6
790 | 30000_TL130 | CHP1-SewerValve | 30000_TL130 description | 3
829 | 30000_TL131 | CHP2-SewerValve | 30000_TL131 description | 3
868 | 30000_TL132 | CHP3-SewerValve | 30000_TL132 description | 3
907 | 30000_TL133 | TT-Air Intake-CHP1 | 30000_TL133 description | 6
946 | 30000_TL134 | TT-Air Exhaust-CHP1 | 30000_TL134 description | 6
113 | 30000_TL135 | PT-EXH-CHP1 | 30000_TL135 description | 50
152 | 30000_TL136 | TT-Inside Surface1-CHP1 | 30000_TL136 description | 6
191 | 30000_TL137 | TT-Outside Surface1-CHP1 | 30000_TL137 description | 6
229 | 30000_TL138 | TT-NG Supply-CHP1 | 30000_TL138 description | 55
268 | 30000_TL139 | PT-NG Supply-CHP1 | 30000_TL139 description | 58
204 | 30000_TL14 | S2SWV104-TL | 30000_TL14 description | 6
307 | 30000_TL140 | TT-HeatingLoopSupply-CHP1 | 30000_TL140 description | 6
346 | 30000_TL141 | TT-HeatingLoopReturn-CHP1 | 30000_TL141 description | 6
385 | 30000_TL142 | PT-HeatingLoopReturn-CHP1 | 30000_TL142 description | 50
424 | 30000_TL143 | TT-BTK-CHP1 | 30000_TL143 description | 6
463 | 30000_TL144 | TT-BTK Supply-CHP1 | 30000_TL144 description | 6
502 | 30000_TL145 | TT-BTK Return-CHP1 | 30000_TL145 description | 6
541 | 30000_TL146 | PT-BTK Supply-CHP1 | 30000_TL146 description | 58
580 | 30000_TL147 | CT-EF2-CHP2 | 30000_TL147 description | 1
619 | 30000_TL148 | TT-Air Intake-CHP2 | 30000_TL148 description | 6
658 | 30000_TL149 | TT-Air Exhaust-CHP2 | 30000_TL149 description | 6
242 | 30000_TL15 | S2SWV103-TL | 30000_TL15 description | 6
697 | 30000_TL150 | PT-EXH-CHP2 | 30000_TL150 description | 50
736 | 30000_TL151 | TT-Inside Surface1-CHP2 | 30000_TL151 description | 6
775 | 30000_TL152 | TT-BTK2-CHP2 | 30000_TL152 description | 6
814 | 30000_TL153 | TT-HeatingLoopSupply-CHP2 | 30000_TL153 description | 6
853 | 30000_TL154 | TT-HeatingLoopReturn-CHP2 | 30000_TL154 description | 6
892 | 30000_TL155 | PT-HeatingLoopReturn-CHP2 | 30000_TL155 description | 50
931 | 30000_TL156 | TT-BTK-CHP2 | 30000_TL156 description | 6
98 | 30000_TL157 | TT-BTK Supply-CHP2 | 30000_TL157 description | 6
137 | 30000_TL158 | TT-BTK Return-CHP2 | 30000_TL158 description | 6
176 | 30000_TL159 | CT-EF3-CHP3 | 30000_TL159 description | 1
281 | 30000_TL16 | S2SWV102-TL | 30000_TL16 description | 6
215 | 30000_TL160 | TT-Air Intake-CHP3 | 30000_TL160 description | 6
253 | 30000_TL161 | TT-Air Exhaust-CHP3 | 30000_TL161 description | 6
292 | 30000_TL162 | PT-EXH-CHP3 | 30000_TL162 description | 50
331 | 30000_TL163 | TT-Inside Surface1-CHP3 | 30000_TL163 description | 6
370 | 30000_TL164 | TT-Outside Surface1-CHP3 | 30000_TL164 description | 6
409 | 30000_TL165 | TT-HeatingLoopSupply-CHP3 | 30000_TL165 description | 6
448 | 30000_TL166 | TT-HeatingLoopReturn-CHP3 | 30000_TL166 description | 6
487 | 30000_TL167 | PT-HeatingLoopReturn-CHP3 | 30000_TL167 description | 50
526 | 30000_TL168 | TT-BTKLow-CHP3 | 30000_TL168 description | 6
565 | 30000_TL169 | TT-BTK Supply-CHP3 | 30000_TL169 description | 6
320 | 30000_TL17 | S2SWV101-TL | 30000_TL17 description | 6
605 | 30000_TL170 | TT-BTK Return-CHP3 | 30000_TL170 description | 6
644 | 30000_TL171 | TT-DHWLoopSupply-CHP3 | 30000_TL171 description | 6
683 | 30000_TL172 | TT-DHWLoopReturn-CHP3 | 30000_TL172 description | 6
722 | 30000_TL173 | FT-BTK_Supply-CHP2 | 30000_TL173 description | 28
145 | 30000_TL174 | CHP1-HeatingLoop_Delta | 30000_TL174 description | 6
761 | 30000_TL175 | FT-NG-Supply-CHP1_Corrected | 30000_TL175 description | 28
800 | 30000_TL176 | FT-NG-Supply-CHP2 | 30000_TL176 description | 28
839 | 30000_TL177 | FT-NG-Supply-CHP3 | 30000_TL177 description | 28
878 | 30000_TL178 | Total_FT-NG-Supply-CHP1 | 30000_TL178 description | 26
917 | 30000_TL179 | Total_FT-NG-Supply-CHP2 | 30000_TL179 description | 26
359 | 30000_TL18 | S2SWV100-TL | 30000_TL18 description | 6
84 | 30000_TL180 | Total_FT-NG-Supply-CHP3 | 30000_TL180 description | 26
123 | 30000_TL181 | CHP1-ThermalTransfer_Wh | 30000_TL181 description | 60
162 | 30000_TL182 | Total_CHP1-ThermalTransfer_Wh | 30000_TL182 description | 59
201 | 30000_TL183 | CHP2-ThermalTransfer_Wh | 30000_TL183 description | 60
239 | 30000_TL184 | CHP3-ThermalTransfer_Wh | 30000_TL184 description | 60
278 | 30000_TL185 | Total_CHP2-ThermalTransfer_Wh | 30000_TL185 description | 59
317 | 30000_TL186 | Total_CHP3-ThermalTransfer_Wh | 30000_TL186 description | 59
356 | 30000_TL187 | FT-Hx8-CCM | 30000_TL187 description | 28
395 | 30000_TL188 | P11A-Enable-CCM | 30000_TL188 description | 3
434 | 30000_TL189 | P11B-Enable-CCM | 30000_TL189 description | 3
398 | 30000_TL19 | S2SWV099-TL | 30000_TL19 description | 6
473 | 30000_TL190 | TT-HX8 Supply-CCM | 30000_TL190 description | 6
512 | 30000_TL191 | TT-HX8 Return-CCM | 30000_TL191 description | 6
551 | 30000_TL192 | TT-CisternHigh-CCM | 30000_TL192 description | 6
591 | 30000_TL193 | TT-CisternMid-CCM | 30000_TL193 description | 6
630 | 30000_TL194 | TT-CisternLow-CCM | 30000_TL194 description | 6
669 | 30000_TL195 | CT-P11A-CCM | 30000_TL195 description | 1
708 | 30000_TL196 | CT-P11B-CCM | 30000_TL196 description | 1
747 | 30000_TL197 | TT-AC1 Supply-CCM | 30000_TL197 description | 6
786 | 30000_TL198 | TT-AC1 Return-CCM | 30000_TL198 description | 6
825 | 30000_TL199 | TT-AC2 Return-CCM | 30000_TL199 description | 6
864 | 30000_TL2 | S2SWV098-TL | 30000_TL2 description | 59
437 | 30000_TL20 | S2SWV097-TL | 30000_TL20 description | 6
903 | 30000_TL200 | TT-AC2 Supply-CCM | 30000_TL200 description | 6
942 | 30000_TL201 | TT-HX8LoopMid-CCM | 30000_TL201 description | 6
109 | 30000_TL202 | ControlValve-3wayAC1-CCM | 30000_TL202 description | 46
148 | 30000_TL203 | ControlValve-3wayAC2-CCM | 30000_TL203 description | 46
187 | 30000_TL204 | ControlValve-3wayHC6-CCM | 30000_TL204 description | 46
225 | 30000_TL205 | ControlValve-3wayHC7-CCM | 30000_TL205 description | 46
264 | 30000_TL206 | ControlValve-3wayHX8-CCM | 30000_TL206 description | 46
303 | 30000_TL207 | AVG_CisternTemp-CCM | 30000_TL207 description | 6
342 | 30000_TL208 | GBT Space heating/cooling consumption-TL | 30000_TL208 description | 55
381 | 30000_TL209 | GBT Lighting consumption-TL | 30000_TL209 description | 55
476 | 30000_TL21 | S2SWV096-TL | 30000_TL21 description | 6
420 | 30000_TL210 | GBT Domestic Hot Water consumption | 30000_TL210 description | 55
459 | 30000_TL211 | GBT Equipment/ R&D consumption | 30000_TL211 description | 55
498 | 30000_TL212 | GBT Appliances consumption | 30000_TL212 description | 55
537 | 30000_TL213 | Panel2A-1_TotalUsage | 30000_TL213 description | 59
576 | 30000_TL214 | FT-City_Water-CHP3 | 30000_TL214 description | 28
615 | 30000_TL215 | CHP3-BTK-To-Temp_Timer | 30000_TL215 description | 55
654 | 30000_TL216 | CHP2-Emergency_Stop | 30000_TL216 description | 3
693 | 30000_TL217 | TT-HC6 Supply-HD | 30000_TL217 description | 6
732 | 30000_TL218 | CHP2-BTK-To-Temp_Timer | 30000_TL218 description | 55
771 | 30000_TL219 | CHP2-HeatingLoop_Delta | 30000_TL219 description | 55
515 | 30000_TL22 | S3SRV095-TL | 30000_TL22 description | 6
810 | 30000_TL220 | BTK2-CHP2-To-Temp_Timer | 30000_TL220 description | 55
849 | 30000_TL221 | TT-HC7 Supply-HD | 30000_TL221 description | 6
888 | 30000_TL222 | CHP3-HeatingLoop_Delta | 30000_TL222 description | 55
927 | 30000_TL223 | BTK3-CHP3-To-Temp_Timer | 30000_TL223 description | 55
94 | 30000_TL224 | TT-BTKHigh-CHP3 | 30000_TL224 description | 6
133 | 30000_TL225 | CT-ElectricalGeneration-CHP3 | 30000_TL225 description | 59
172 | 30000_TL226 | CT-ElectricalGeneration-CHP2 | 30000_TL226 description | 59
211 | 30000_TL227 | CT-ElectricalGeneration-CHP1 | 30000_TL227 description | 59
249 | 30000_TL228 | CHP3-ElectricalGenerationTotal | 30000_TL228 description | 25
288 | 30000_TL229 | CHP2-ElectricalGenerationTotal | 30000_TL229 description | 25
554 | 30000_TL23 | S3SRV094-TL | 30000_TL23 description | 6
327 | 30000_TL230 | CHP1-ElectricalGenerationTotal | 30000_TL230 description | 25
522 | 30000_TL231 | TT-HC6 Return-HD | 30000_TL231 description | 6
561 | 30000_TL232 | TT-HC7 Return-HD | 30000_TL232 description | 6
601 | 30000_TL233 | CT-P10-HD | 30000_TL233 description | 1
640 | 30000_TL234 | CHP1-Hour0-SizeA | 30000_TL234 description | 26
679 | 30000_TL235 | CHP1-Hour1-SizeA | 30000_TL235 description | 26
718 | 30000_TL236 | CHP1-Hour1_5-SizeA | 30000_TL236 description | 26
757 | 30000_TL237 | CHP1-Hour2-SizeA | 30000_TL237 description | 26
796 | 30000_TL238 | CHP1-Hour2_5-SizeA | 30000_TL238 description | 26
835 | 30000_TL239 | CHP1-Hour3-SizeA | 30000_TL239 description | 26
594 | 30000_TL24 | S3SRV093-TL | 30000_TL24 description | 6
874 | 30000_TL240 | CHP1-Hour3.5-SizeA | 30000_TL240 description | 26
913 | 30000_TL241 | CHP1-Hour4-SizeA | 30000_TL241 description | 26
80 | 30000_TL242 | CHP1-Hour5-SizeA | 30000_TL242 description | 26
119 | 30000_TL243 | CHP1-Hour5_5-SizeA | 30000_TL243 description | 26
158 | 30000_TL244 | CHP1-Hour6-SizeA | 30000_TL244 description | 26
197 | 30000_TL245 | CHP1-Hour10-SizeA | 30000_TL245 description | 26
235 | 30000_TL246 | CHP1-Hour11-SizeA | 30000_TL246 description | 26
274 | 30000_TL247 | CHP1-Hour12-SizeA | 30000_TL247 description | 26
313 | 30000_TL248 | CHP1-Hour13-SizeA | 30000_TL248 description | 26
352 | 30000_TL249 | CHP1-Hour14-SizeA | 30000_TL249 description | 26
633 | 30000_TL25 | S3SRV091-TL | 30000_TL25 description | 6
391 | 30000_TL250 | FT-BTK_Supply-CHP2_AT | 30000_TL250 description | 26
430 | 30000_TL251 | FT-BTK_Supply-CHP3_AT | 30000_TL251 description | 26
469 | 30000_TL252 | PV-CarportSolar_Total | 30000_TL252 description | 59
508 | 30000_TL253 | PV-RooftopSolar_Total | 30000_TL253 description | 59
547 | 30000_TL254 | CHP2-Hour0-SizeA | 30000_TL254 description | 26
586 | 30000_TL255 | CHP2-Hour1-SizeA | 30000_TL255 description | 26
625 | 30000_TL256 | CHP2-Hour10-SizeA | 30000_TL256 description | 26
664 | 30000_TL257 | CHP2-Hour11-SizeA | 30000_TL257 description | 26
703 | 30000_TL258 | CHP2-Hour12-SizeA | 30000_TL258 description | 26
742 | 30000_TL259 | CHP2-Hour13-SizeA | 30000_TL259 description | 26
672 | 30000_TL26 | S3SRV089-TL | 30000_TL26 description | 6
781 | 30000_TL260 | CHP2-Hour14-SizeA | 30000_TL260 description | 26
820 | 30000_TL261 | CHP2-Hour1_5-SizeA | 30000_TL261 description | 26
859 | 30000_TL262 | CHP2-Hour2-SizeA | 30000_TL262 description | 26
898 | 30000_TL263 | CHP2-Hour2_5-SizeA | 30000_TL263 description | 26
937 | 30000_TL264 | CHP2-Hour3-SizeA | 30000_TL264 description | 26
104 | 30000_TL265 | CHP2-Hour3.5-SizeA | 30000_TL265 description | 26
143 | 30000_TL266 | CHP2-Hour4-SizeA | 30000_TL266 description | 26
182 | 30000_TL267 | CHP2-Hour5-SizeA | 30000_TL267 description | 26
221 | 30000_TL268 | CHP2-Hour5_5-SizeA | 30000_TL268 description | 26
259 | 30000_TL269 | CHP2-Hour6-SizeA | 30000_TL269 description | 26
711 | 30000_TL27 | S3SRV088-TL | 30000_TL27 description | 6
298 | 30000_TL270 | CHP1-Hour0-SizeB | 30000_TL270 description | 26
337 | 30000_TL271 | CHP1-Hour1-SizeB | 30000_TL271 description | 26
376 | 30000_TL272 | CHP1-Hour10-SizeB | 30000_TL272 description | 26
415 | 30000_TL273 | CHP1-Hour11-SizeB | 30000_TL273 description | 26
454 | 30000_TL274 | CHP1-Hour12-SizeB | 30000_TL274 description | 26
493 | 30000_TL275 | CHP1-Hour13-SizeB | 30000_TL275 description | 26
532 | 30000_TL276 | CHP1-Hour14-SizeB | 30000_TL276 description | 26
571 | 30000_TL277 | CHP1-Hour1_5-SizeB | 30000_TL277 description | 26
611 | 30000_TL278 | CHP1-Hour2-SizeB | 30000_TL278 description | 26
650 | 30000_TL279 | CHP1-Hour2_5-SizeB | 30000_TL279 description | 26
750 | 30000_TL28 | S3ERTH082-TL | 30000_TL28 description | 6
689 | 30000_TL280 | CHP1-Hour3-SizeB | 30000_TL280 description | 26
728 | 30000_TL281 | CHP1-Hour3.5-SizeB | 30000_TL281 description | 26
767 | 30000_TL282 | CHP1-Hour4-SizeB | 30000_TL282 description | 26
806 | 30000_TL283 | CHP1-Hour5-SizeB | 30000_TL283 description | 26
845 | 30000_TL284 | CHP1-Hour5_5-SizeB | 30000_TL284 description | 26
884 | 30000_TL285 | CHP1-Hour6-SizeB | 30000_TL285 description | 26
923 | 30000_TL286 | CHP1-Hour15-SizeB | 30000_TL286 description | 26
90 | 30000_TL287 | CHP2-Hour0-SizeB | 30000_TL287 description | 26
129 | 30000_TL288 | CHP2-Hour1-SizeB | 30000_TL288 description | 26
168 | 30000_TL289 | CHP2-Hour10-SizeB | 30000_TL289 description | 26
789 | 30000_TL29 | S1ETH063 - Humidity-TL | 30000_TL29 description | 46
207 | 30000_TL290 | CHP2-Hour11-SizeB | 30000_TL290 description | 26
245 | 30000_TL291 | CHP2-Hour12-SizeB | 30000_TL291 description | 26
284 | 30000_TL292 | CHP2-Hour13-SizeB | 30000_TL292 description | 26
323 | 30000_TL293 | CHP2-Hour14-SizeB | 30000_TL293 description | 26
362 | 30000_TL294 | CHP2-Hour1_5-SizeB | 30000_TL294 description | 26
401 | 30000_TL295 | CHP2-Hour2-SizeB | 30000_TL295 description | 26
440 | 30000_TL296 | CHP2-Hour2_5-SizeB | 30000_TL296 description | 26
479 | 30000_TL297 | CHP2-Hour3-SizeB | 30000_TL297 description | 26
518 | 30000_TL298 | CHP2-Hour3.5-SizeB | 30000_TL298 description | 26
557 | 30000_TL299 | CHP2-Hour4-SizeB | 30000_TL299 description | 26
366 | 30000_TL3 | GBT Total Generation | 30000_TL3 description | 55
828 | 30000_TL30 | N1ETH058A - Humidity-TL | 30000_TL30 description | 55
597 | 30000_TL300 | CHP2-Hour5-SizeB | 30000_TL300 description | 26
636 | 30000_TL301 | CHP2-Hour5_5-SizeB | 30000_TL301 description | 26
675 | 30000_TL302 | CHP2-Hour6-SizeB | 30000_TL302 description | 26
714 | 30000_TL303 | CHP3-Hour0-SizeA | 30000_TL303 description | 26
753 | 30000_TL304 | CHP3-Hour0-SizeB | 30000_TL304 description | 26
792 | 30000_TL305 | CHP3-Hour1-SizeA | 30000_TL305 description | 26
831 | 30000_TL306 | CHP3-Hour1-SizeB | 30000_TL306 description | 26
870 | 30000_TL307 | CHP3-Hour10-SizeA | 30000_TL307 description | 26
909 | 30000_TL308 | CHP3-Hour10-SizeB | 30000_TL308 description | 26
948 | 30000_TL309 | CHP3-Hour11-SizeA | 30000_TL309 description | 26
867 | 30000_TL31 | S1ETH065-TL | 30000_TL31 description | 6
115 | 30000_TL310 | CHP3-Hour11-SizeB | 30000_TL310 description | 26
154 | 30000_TL311 | CHP3-Hour12-SizeA | 30000_TL311 description | 26
193 | 30000_TL312 | CHP3-Hour12-SizeB | 30000_TL312 description | 26
231 | 30000_TL313 | CHP3-Hour13-SizeA | 30000_TL313 description | 26
270 | 30000_TL314 | CHP3-Hour13-SizeB | 30000_TL314 description | 26
309 | 30000_TL315 | CHP3-Hour14-SizeA | 30000_TL315 description | 26
348 | 30000_TL316 | CHP3-Hour14-SizeB | 30000_TL316 description | 26
387 | 30000_TL317 | CHP3-Hour1_5-SizeA | 30000_TL317 description | 26
426 | 30000_TL318 | CHP3-Hour1_5-SizeB | 30000_TL318 description | 26
465 | 30000_TL319 | CHP3-Hour2-SizeA | 30000_TL319 description | 26
906 | 30000_TL32 | S1ETH064-TL | 30000_TL32 description | 6
504 | 30000_TL320 | CHP3-Hour2-SizeB | 30000_TL320 description | 26
543 | 30000_TL321 | CHP3-Hour2_5-SizeA | 30000_TL321 description | 26
582 | 30000_TL322 | CHP3-Hour2_5-SizeB | 30000_TL322 description | 26
621 | 30000_TL323 | CHP3-Hour3-SizeA | 30000_TL323 description | 26
660 | 30000_TL324 | CHP3-Hour3-SizeB | 30000_TL324 description | 26
699 | 30000_TL325 | CHP3-Hour3.5-SizeA | 30000_TL325 description | 26
738 | 30000_TL326 | CHP3-Hour3.5-SizeB | 30000_TL326 description | 26
777 | 30000_TL327 | CHP3-Hour4-SizeA | 30000_TL327 description | 26
816 | 30000_TL328 | CHP3-Hour4-SizeB | 30000_TL328 description | 26
855 | 30000_TL329 | CHP3-Hour5-SizeA | 30000_TL329 description | 26
945 | 30000_TL33 | S1ETH063A-TL | 30000_TL33 description | 46
894 | 30000_TL330 | CHP3-Hour5-SizeB | 30000_TL330 description | 26
933 | 30000_TL331 | CHP3-Hour5_5-SizeA | 30000_TL331 description | 26
100 | 30000_TL332 | CHP3-Hour5_5-SizeB | 30000_TL332 description | 26
139 | 30000_TL333 | CHP3-Hour6-SizeA | 30000_TL333 description | 26
178 | 30000_TL334 | CHP3-Hour6-SizeB | 30000_TL334 description | 26
217 | 30000_TL335 | GBT Net Energy | 30000_TL335 description | 59
255 | 30000_TL336 | GBT Generation Wh | 30000_TL336 description | 60
294 | 30000_TL337 | GBT Consumption Wh | 30000_TL337 description | 60
333 | 30000_TL338 | GBT Net Energy Wh | 30000_TL338 description | 60
372 | 30000_TL339 | GBT Net Energy Hourly Wh | 30000_TL339 description | 60
112 | 30000_TL34 | S1ETH063B-TL | 30000_TL34 description | 6
411 | 30000_TL340 | GBT Generation Hourly Wh | 30000_TL340 description | 60
450 | 30000_TL341 | GBT Consumption Hourly Wh | 30000_TL341 description | 60
489 | 30000_TL342 | GBT Site Consumption | 30000_TL342 description | 59
528 | 30000_TL343 | GBT Mains PA | 30000_TL343 description | 59
567 | 30000_TL344 | GBT Mains PB | 30000_TL344 description | 59
607 | 30000_TL345 | GBT Mains PC | 30000_TL345 description | 59
646 | 30000_TL346 | CHP3-Hour0-SizeC | 30000_TL346 description | 26
685 | 30000_TL347 | CHP3-Hour1-SizeC | 30000_TL347 description | 26
724 | 30000_TL348 | CHP3-Hour10-SizeC | 30000_TL348 description | 26
763 | 30000_TL349 | CHP3-Hour11-SizeC | 30000_TL349 description | 26
151 | 30000_TL35 | S1ETH062A-TL | 30000_TL35 description | 46
802 | 30000_TL350 | CHP3-Hour12-SizeC | 30000_TL350 description | 26
841 | 30000_TL351 | CHP3-Hour13-SizeC | 30000_TL351 description | 26
880 | 30000_TL352 | CHP3-Hour14-SizeC | 30000_TL352 description | 26
919 | 30000_TL353 | CHP3-Hour1_5-SizeC | 30000_TL353 description | 26
86 | 30000_TL354 | CHP3-Hour2-SizeC | 30000_TL354 description | 26
125 | 30000_TL355 | CHP3-Hour2_5-SizeC | 30000_TL355 description | 26
164 | 30000_TL356 | CHP3-Hour3-SizeC | 30000_TL356 description | 26
203 | 30000_TL357 | CHP3-Hour3.5-SizeC | 30000_TL357 description | 26
241 | 30000_TL358 | CHP3-Hour4-SizeC | 30000_TL358 description | 26
280 | 30000_TL359 | CHP3-Hour5-SizeC | 30000_TL359 description | 26
190 | 30000_TL36 | S1ETH062B-TL | 30000_TL36 description | 6
319 | 30000_TL360 | CHP3-Hour5_5-SizeC | 30000_TL360 description | 26
358 | 30000_TL361 | CHP3-Hour6-SizeC | 30000_TL361 description | 26
397 | 30000_TL362 | TT-BTKTemp-CHP3 | 30000_TL362 description | 6
436 | 30000_TL363 | CHP2-Hour0-SizeC | 30000_TL363 description | 26
475 | 30000_TL364 | CHP2-Hour1-SizeC | 30000_TL364 description | 26
514 | 30000_TL365 | CHP2-Hour10-SizeC | 30000_TL365 description | 26
553 | 30000_TL366 | CHP2-Hour11-SizeC | 30000_TL366 description | 26
593 | 30000_TL367 | CHP2-Hour12-SizeC | 30000_TL367 description | 26
632 | 30000_TL368 | CHP2-Hour13-SizeC | 30000_TL368 description | 26
671 | 30000_TL369 | CHP2-Hour14-SizeC | 30000_TL369 description | 26
228 | 30000_TL37 | S1ETH061-TL | 30000_TL37 description | 6
710 | 30000_TL370 | CHP2-Hour1_5-SizeC | 30000_TL370 description | 26
749 | 30000_TL371 | CHP2-Hour2-SizeC | 30000_TL371 description | 26
788 | 30000_TL372 | CHP2-Hour2_5-SizeC | 30000_TL372 description | 26
827 | 30000_TL373 | CHP2-Hour3-SizeC | 30000_TL373 description | 26
866 | 30000_TL374 | CHP2-Hour3.5-SizeC | 30000_TL374 description | 26
905 | 30000_TL375 | CHP2-Hour4-SizeC | 30000_TL375 description | 26
944 | 30000_TL376 | CHP2-Hour5-SizeC | 30000_TL376 description | 26
111 | 30000_TL377 | CHP2-Hour5_5-SizeC | 30000_TL377 description | 26
150 | 30000_TL378 | CHP2-Hour6-SizeC | 30000_TL378 description | 26
189 | 30000_TL379 | FT-DHWDump-DHW-CCM-HD-HOTF | 30000_TL379 description | 28
267 | 30000_TL38 | N0FTHC039-TL | 30000_TL38 description | 6
184 | 30000_TL380 | HOTF-Hour0-SizeB | 30000_TL380 description | 26
227 | 30000_TL381 | HOTF-Hour15-SizeB | 30000_TL381 description | 26
223 | 30000_TL382 | GBT Snapshot_Daily Consumption | 30000_TL382 description | 59
261 | 30000_TL383 | GBT Snapshot_Daily Generation | 30000_TL383 description | 59
300 | 30000_TL384 | AC1-Delta-CCM | 30000_TL384 description | 6
339 | 30000_TL385 | AC2-Delta-CCM | 30000_TL385 description | 6
939 | 30000_TL386 | GBT Generation Wh_Daily | 30000_TL386 description | 60
106 | 30000_TL387 | GBT Consumption Wh_Daily | 30000_TL387 description | 60
2845 | 30000_TL388 | GBT Total Generation kWh-TL | 30000_TL388 description | 25
2839 | 30000_TL389 | CHP3-Hour1-6_TL | 30000_TL389 description | 26
306 | 30000_TL39 | N0FTHC038-TL | 30000_TL39 description | 6
2840 | 30000_TL390 | CHP3-Hour6-10_TL | 30000_TL390 description | 26
2841 | 30000_TL391 | CHP3-Hour10-16_TL | 30000_TL391 description | 26
2842 | 30000_TL392 | CHP3-Hour16-22_TL | 30000_TL4392 description | 26
2843 | 30000_TL393 | CHP3-Hour22-1_TL | 30000_TL393 description | 26
2844 | 30000_TL394 | CHP3-TEST-Scenario1-Timer_TL | 30000_TL394 description | 17
2846 | 30000_TL395 | CHP3-TES-Scenario1-ElectricalPrice_TL | 30000_TL395 description | 10
2847 | 30000_TL396 | CHP3-Hour12-19_TL | 30000_TL396 description | 26
2848 | 30000_TL397 | Internal TES Temperature_TL | 30000_TL397 description | 6
2849 | 30000_TL398 | BatteryChargeReturnTemp_TL_CHP3 | 30000_TL398 description | 6
345 | 30000_TL4 | GBT Ventilation consumption | 30000_TL4 description | 46
384 | 30000_TL40 | W2GRFT288-TL | 30000_TL40 description | 6
2850 | 30000_TL401 | FT-CityWaterIn-CHP3-AT_TL | 30000_TL401 description | 26
2851 | 30000_TL402 | TT-City Water_TL | 30000_TL402 description | 6
2852 | 30000_TL403 | FT-HeatingLoopSupply-CHP3_TL Julio | 30000_TL403 description | 28
2831 | 30000_TL404 | TT-HeatLoopTankReturn-CHP3_TL | 30000_TL404 description | 6
2832 | 30000_TL405 | TT-HW Supply-HD_TL | 30000_TL405 description | 6
2833 | 30000_TL406 | TT-HW Return-HD_TL | 30000_TL406 description | 6
2834 | 30000_TL407 | T-HD Supply-HD_TL | 30000_TL407 description | 6
2835 | 30000_TL408 | TT-HD Return-HD_TL | 30000_TL408 description | 6
2836 | 30000_TL409 | FT-HC6-CCM-CHP-HD_TL | 30000_TL409 description | 28
423 | 30000_TL41 | W2GRFT287-TL | 30000_TL41 description | 6
2837 | 30000_TL410 | FT-HC7-CCM-CHP-HD_TL | 30000_TL410 description | 28
2838 | 30000_TL412 | FT-HeatingLoopSupply-CCM-HD_TL | 30000_TL412 description | 28
462 | 30000_TL42 | W2GRFT284-TL | 30000_TL42 description | 6
501 | 30000_TL43 | W2GRFT283-TL | 30000_TL43 description | 6
540 | 30000_TL44 | W2GRFT272-TL | 30000_TL44 description | 6
579 | 30000_TL45 | W2GRFT256-TL | 30000_TL45 description | 6
618 | 30000_TL46 | W2GRFT255-TL | 30000_TL46 description | 6
657 | 30000_TL47 | W2GRFT252-TL | 30000_TL47 description | 6
696 | 30000_TL48 | W2GRFT251-TL | 30000_TL48 description | 6
735 | 30000_TL49 | W2GRFT236-TL | 30000_TL49 description | 6
774 | 30000_TL5 | Test MC | 30000_TL5 description | 3
813 | 30000_TL50 | W2GRFT235-TL | 30000_TL50 description | 6
852 | 30000_TL51 | W2GRFT240-TL | 30000_TL51 description | 6
891 | 30000_TL52 | W2GRFT239-TL | 30000_TL52 description | 6
930 | 30000_TL53 | W1ETH075-TL | 30000_TL53 description | 6
97 | 30000_TL54 | W1ETH074-TL | 30000_TL54 description | 6
136 | 30000_TL55 | E0FTHC036 | 30000_TL55 description | 6
175 | 30000_TL56 | E0FTHC035 | 30000_TL56 description | 6
214 | 30000_TL57 | E0FTHC034 | 30000_TL57 description | 6
252 | 30000_TL58 | W1FTHC022-TL | 30000_TL58 description | 6
291 | 30000_TL59 | W1FTHC021-TL | 30000_TL59 description | 46
330 | 30000_TL6 | TL-MACA Bay 1 - Unit Heater | 30000_TL6 description | 3
369 | 30000_TL60 | W1FTHC020-TL | 30000_TL60 description | 6
408 | 30000_TL61 | W1FTHC019-TL | 30000_TL61 description | 6
447 | 30000_TL62 | W1FTHC018-TL | 30000_TL62 description | 6
486 | 30000_TL63 | W1FTHC017-TL | 30000_TL63 description | 6
525 | 30000_TL64 | W1FTHC016-TL | 30000_TL64 description | 46
564 | 30000_TL65 | W1FTHC015-TL | 30000_TL65 description | 6
604 | 30000_TL66 | S0FTHC012-TL | 30000_TL66 description | 6
643 | 30000_TL67 | S0FTHC011-TL | 30000_TL67 description | 46
682 | 30000_TL68 | S0FTHC010-TL | 30000_TL68 description | 6
721 | 30000_TL69 | S0FTHC009-TL | 30000_TL69 description | 6
760 | 30000_TL7 | TL-MACA Bay 2 - Unit Heater | 30000_TL7 description | 6
799 | 30000_TL70 | S1FTHC007-TL | 30000_TL70 description | 6
838 | 30000_TL71 | S1FTHC005-TL | 30000_TL71 description | 6
877 | 30000_TL72 | M4SV115-TL | 30000_TL72 description | 6
916 | 30000_TL73 | M4SV111-TL | 30000_TL73 description | 6
83 | 30000_TL74 | M4SV107-TL | 30000_TL74 description | 6
122 | 30000_TL75 | W1ETH071-TL | 30000_TL75 description | 6
161 | 30000_TL76 | Unit Heat Temp - TEST-TL | 30000_TL76 description | 6
200 | 30000_TL77 | E1MACA183B - TEST | 30000_TL77 description | 6
238 | 30000_TL78 | E1MACA183A | 30000_TL78 description | 46
277 | 30000_TL79 | N0FTH295-TL | 30000_TL79 description | 6
316 | 30000_TL8 | S2ETH300 | 30000_TL8 description | 6
355 | 30000_TL80 | M0SV117-TL | 30000_TL80 description | 6
394 | 30000_TL81 | M0SV109-TL | 30000_TL81 description | 6
433 | 30000_TL82 | N3ERTH076-TL | 30000_TL82 description | 6
472 | 30000_TL83 | N1ETH060-TL | 30000_TL83 description | 6
511 | 30000_TL84 | N1ETH059-TL | 30000_TL84 description | 6
550 | 30000_TL85 | N1ETH058B-TL | 30000_TL85 description | 6
589 | 30000_TL86 | N1ETH058A - Humidity Voltage Output-TL | 30000_TL86 description | 46
628 | 30000_TL87 | N1ETH057B-TL | 30000_TL87 description | 6
667 | 30000_TL88 | N1ETH057A-TL | 30000_TL88 description | 6
706 | 30000_TL89 | N1ETH056-TL | 30000_TL89 description | 6
745 | 30000_TL9 | S2ETH299 | 30000_TL9 description | 6
784 | 30000_TL90 | N1FTH042-TL | 30000_TL90 description | 6
823 | 30000_TL91 | E1ETH070 | 30000_TL91 description | 6
862 | 30000_TL92 | E1ETH069 | 30000_TL92 description | 6
901 | 30000_TL93 | E1ETH066 | 30000_TL93 description | 6
940 | 30000_TL94 | W1ETH071(Test) TL | 30000_TL94 description | 55
107 | 30000_TL95 | S0FTH055 | 30000_TL95 description | 46
146 | 30000_TL96 | Solar Wall Average Temperature | 30000_TL96 description | 6
185 | 30000_TL97 | Solar Roof Average Temperature | 30000_TL97 description | 6
405 | 30000_TL98 | BTK1-CHP1-Timer | 30000_TL98 description | 55
444 | 30000_TL99 | BTK2-CHP2-Timer | 30000_TL99 description | 55
2284 | 30000_TL990 | CHP2-Cooling Cycle Time | 30000_TL990 Description | 39
2285 | 30000_TL991 | CHP2-Heating Cycle Time | 30000_TL991 Description | 39
2286 | 30000_TL992 | CHP2-Gas Total | 30000_TL992 Description | 26
2287 | 30000_TL993 | CHP2-Electrical Energy | 30000_TL993 Description | 59
2288 | 30000_TL994 | CHP2-Heat Energy | 30000_TL994 Description | 59
266 | 40000_TL1 | CS-Prefiltration-FilterTrain | 40000_TL1 description | 38
305 | 40000_TL10 | CV1-UV/Chlorine Crossover Control Valve | 40000_TL10 description | 3
344 | 40000_TL11 | CV2-Chlorinated Fixtures Control Valve | 40000_TL11 description | 3
383 | 40000_TL12 | CV3-Chlorine Dosing Water Supply Control Valve | 40000_TL12 description | 3
422 | 40000_TL13 | EF-HumidityExhaust-Pond | 40000_TL13 description | 3
461 | 40000_TL14 | CS-Filtration Diff-FilterTrain | 40000_TL14 description | 38
500 | 40000_TL15 | PH-Filtration Diff-FilterTrain | 40000_TL15 description | 48
539 | 40000_TL16 | TS-Filtration Diff-FilterTrain | 40000_TL16 description | 41
578 | 40000_TL17 | TT-Filtration Diff-FilterTrain | 40000_TL17 description | 6
617 | 40000_TL18 | TT-Constructed Wetlands-Pond | 40000_TL18 description | 6
656 | 40000_TL19 | TT-Solar Aquatics-Pond | 40000_TL19 description | 6
695 | 40000_TL2 | PH-Prefiltration-FilterTrain | 40000_TL2 description | 48
734 | 40000_TL20 | RHT-Constructed Wetland-Pond | 40000_TL20 description | 47
773 | 40000_TL21 | RHT-Solar Aquatics-Pond | 40000_TL21 description | 47
812 | 40000_TL22 | CS-1min prefilter diff-FilterTrain | 40000_TL22 description | 38
851 | 40000_TL23 | CS-5min prefilter diff-FilterTrain | 40000_TL23 description | 38
890 | 40000_TL24 | CS-1hr prefilter diff-FilterTrain | 40000_TL24 description | 38
929 | 40000_TL25 | CS-1day prefilter diff-FilterTrain | 40000_TL25 description | 38
96 | 40000_TL26 | PH-1min prefilter diff-FilterTrain | 40000_TL26 description | 48
135 | 40000_TL27 | PH-5min prefilter diff-FilterTrain | 40000_TL27 description | 48
174 | 40000_TL28 | PH-1hr prefilter diff-FilterTrain | 40000_TL28 description | 48
213 | 40000_TL29 | PH-1day prefilter diff-FilterTrain | 40000_TL29 description | 48
251 | 40000_TL3 | TS-Prefiltration-FilterTrain | 40000_TL3 description | 41
290 | 40000_TL30 | TS-1min prefilter diff-FilterTrain | 40000_TL30 description | 41
329 | 40000_TL31 | TS-5min prefilter diff-FilterTrain | 40000_TL31 description | 41
368 | 40000_TL32 | TS-1hr prefilter diff-FilterTrain | 40000_TL32 description | 41
407 | 40000_TL33 | TS-1day prefilter diff-FilterTrain | 40000_TL33 description | 41
446 | 40000_TL34 | TT-1min prefilter diff-FilterTrain | 40000_TL34 description | 6
485 | 40000_TL35 | TT-5min prefilter diff-FilterTrain | 40000_TL35 description | 6
524 | 40000_TL36 | TT-1hr prefilter diff-FilterTrain | 40000_TL36 description | 6
563 | 40000_TL37 | TT-1day prefilter diff-FilterTrain | 40000_TL37 description | 6
603 | 40000_TL38 | CS-1min postfilter diff-FilterTrain | 40000_TL38 description | 38
642 | 40000_TL39 | CS-5min postfilter diff-FilterTrain | 40000_TL39 description | 38
681 | 40000_TL4 | TT-Prefiltration-FilterTrain | 40000_TL4 description | 6
720 | 40000_TL40 | CS-1hr postfilter diff-FilterTrain | 40000_TL40 description | 38
759 | 40000_TL41 | CS-1day postfilter diff-FilterTrain | 40000_TL41 description | 38
798 | 40000_TL42 | PH-1min postfilter diff-FilterTrain | 40000_TL42 description | 48
837 | 40000_TL43 | PH-5min postfilter diff-FilterTrain | 40000_TL43 description | 48
876 | 40000_TL44 | PH-1hr postfilter diff-FilterTrain | 40000_TL44 description | 48
915 | 40000_TL45 | PH-1day postfilter diff-FilterTrain | 40000_TL45 description | 48
82 | 40000_TL46 | TS-1min postfilter diff-FilterTrain | 40000_TL46 description | 41
121 | 40000_TL47 | TS-5min postfilter diff-FilterTrain | 40000_TL47 description | 41
160 | 40000_TL48 | TS-1hr postfilter diff-FilterTrain | 40000_TL48 description | 41
199 | 40000_TL49 | TS-1day postfilter diff-FilterTrain | 40000_TL49 description | 41
237 | 40000_TL5 | CS-Postfiltration-FilterTrain | 40000_TL5 description | 38
276 | 40000_TL50 | TT-1min postfilter diff-FilterTrain | 40000_TL50 description | 6
315 | 40000_TL51 | TT-5min postfilter diff-FilterTrain | 40000_TL51 description | 6
354 | 40000_TL52 | TT-1hr postfilter diff-FilterTrain | 40000_TL52 description | 6
393 | 40000_TL53 | TT-1day postfilter diff-FilterTrain | 40000_TL53 description | 6
432 | 40000_TL54 | CN-1min postfilter diff-FilterTrain | 40000_TL54 description | 36
471 | 40000_TL55 | CN-5min postfilter diff-FilterTrain | 40000_TL55 description | 36
510 | 40000_TL56 | CN-1hr postfilter diff-FilterTrain | 40000_TL56 description | 36
549 | 40000_TL57 | CN-1day postfilter diff-FilterTrain | 40000_TL57 description | 36
588 | 40000_TL58 | DP-Constructed Wetland-Pond | 40000_TL58 description | 6
627 | 40000_TL59 | DP-Solar Aquatics-Pond | 40000_TL59 description | 6
666 | 40000_TL6 | PH-Postfiltration-FilterTrain | 40000_TL6 description | 48
705 | 40000_TL60 | PT-Level Sensor-Pond | 40000_TL60 description | 50
744 | 40000_TL61 | Depth-Water Level-Pond | 40000_TL61 description | 18
783 | 40000_TL7 | TS-Postfiltration-FilterTrain | 40000_TL7 description | 41
822 | 40000_TL8 | TT-Postfiltration-FilterTrain | 40000_TL8 description | 6
861 | 40000_TL9 | CN-Postfiltration-FilterTrain | 40000_TL9 description | 36